## ID A #1
PSYCHROMETRIC CALORIMETER DATA SHEET
Company |  | LG |  | Rated Capacity |  | 10.0 W
Test Name |  | calorimeter |  | Rated Power Input |  | 1.0 W
Test No. |  | 1111 |  | Rated EER/COP |  | 10.000 W/W
Observer |  | S.H.Lee |  | Power Source |  | 1V / 1A / 60Hz / 3-Phase 3-Wire
Maker |  | LG |  | Exp. Device
Model (1) |  | 11111 |  | Refrigerant |  | R-410A
Serial No. (1) |  | 22222 |  | Ref. Charge
Model (2) |  | 11 |  | Test Date |  | 2018-10-11 09:48:02
Serial No. (2) |  |  |  | File Name
Model (3) / Serial No. (3) |  |  |  | -
Indoor Side Test Condition |  |  |  | Outdoor Side Test Condition
DB & WB Temperature |  | 27.00 / 19.00 ℃ |  | DB & WB Temperature |  | 35.00 / 24.00 ℃
Test Record |  | Indoor, Cooling |  | Test Record |  | Outdoor
Memo
Total Results |  | Average | 1 min
Total Capacity | W
Total Power Input | W
EER/COP | W/W
Capacity Ratio | %
Power Input Ratio | %
EER/COP Ratio | %
Power Input (ID Unit) | W
Voltage | V
Current | A
Frequency | Hz
Power Factor | %
Power Input (OD Unit) | W
Voltage | V
Current | A
Frequency | Hz
Power Factor | %
Indoor Side A #1
Capacity | W
Capacity Ratio | %
Sensible Heat | W
Latent Heat | W
Sensible Heat Ratio | %
Heat Leakage | W
Drain Weight | kg/h
Entering DB | ℃
Entering WB | ℃
Entering RH | %
Leaving DB | ℃
Leaving WB | ℃
Leaving RH | %
Enthalpy [Ent] | kcal/kg'
Enthalpy [Lev] | kcal/kg'
Humidity Ratio [Ent] | kg/kg'
Humidity Ratio [Lev] | kg/kg'
Specific Heat [Lev] | kcal/kg℃
Specific Volume [Lev] | ㎥/kg
Air Flow [Lev] | CMM
Static Pressure | mmAq
Nozzle Diff. Pressure | mmAq
Atmospheric Pressure | mmHg
Nozzle Inlet Temp. | ℃
Nozzle (100/150/150/300)
Outdoor Side
Entering DB | ℃
Entering WB | ℃
Entering RH | %
Entering DP | ℃
LG-P14-ID.A-TD1 |  |  | LG Electronics |  | A4(210mm*297mm)

## ID A #2
PSYCHROMETRIC CALORIMETER DATA SHEET
Company |  | LG |  | Rated Capacity |  | 10.0 W
Test Name |  | calorimeter |  | Rated Power Input |  | 1.0 W
Test No. |  | 1111 |  | Rated EER/COP |  | 10.000 W/W
Observer |  | S.H.Lee |  | Power Source |  | 1V / 1A / 60Hz / 3-Phase 3-Wire
Maker |  | LG |  | Exp. Device
Model (1) |  | 11111 |  | Refrigerant |  | R-410A
Serial No. (1) |  | 22222 |  | Ref. Charge
Model (2) |  | 11 |  | Test Date |  | 2018-10-11 09:48:02
Serial No. (2) |  |  |  | File Name
Model (3) / Serial No. (3) |  |  |  | -
Indoor Side Test Condition |  |  |  | Outdoor Side Test Condition
DB & WB Temperature |  | 27.00 / 19.00 ℃ |  | DB & WB Temperature |  | 35.00 / 24.00 ℃
Test Record |  | Indoor, Cooling |  | Test Record |  | Outdoor
Memo
Total Results |  | Average | 1 min
Total Capacity | W
Total Power Input | W
EER/COP | W/W
Capacity Ratio | %
Power Input Ratio | %
EER/COP Ratio | %
Power Input (ID Unit) | W
Voltage | V
Current | A
Frequency | Hz
Power Factor | %
Power Input (OD Unit) | W
Voltage | V
Current | A
Frequency | Hz
Power Factor | %
Indoor Side A #2
Capacity | W
Capacity Ratio | %
Sensible Heat | W
Latent Heat | W
Sensible Heat Ratio | %
Heat Leakage | W
Drain Weight | kg/h
Entering DB | ℃
Entering WB | ℃
Entering RH | %
Leaving DB | ℃
Leaving WB | ℃
Leaving RH | %
Enthalpy [Ent] | kcal/kg'
Enthalpy [Lev] | kcal/kg'
Humidity Ratio [Ent] | kg/kg'
Humidity Ratio [Lev] | kg/kg'
Specific Heat [Lev] | kcal/kg℃
Specific Volume [Lev] | ㎥/kg
Air Flow [Lev] | CMM
Static Pressure | mmAq
Nozzle Diff. Pressure | mmAq
Atmospheric Pressure | mmHg
Nozzle Inlet Temp. | ℃
Nozzle (100/60/85/100)
Outdoor Side
Entering DB | ℃
Entering WB | ℃
Entering RH | %
Entering DP | ℃
LG-P14-ID.A-TD2 |  |  | LG Electronics |  | A4(210mm*297mm)

## ID B #1
PSYCHROMETRIC CALORIMETER DATA SHEET
Company |  | LG |  | Rated Capacity |  | 10.0 W
Test Name |  | calorimeter |  | Rated Power Input |  | 1.0 W
Test No. |  | 1111 |  | Rated EER/COP |  | 10.000 W/W
Observer |  | S.H.Lee |  | Power Source |  | 1V / 1A / 60Hz / 3-Phase 3-Wire
Maker |  | LG |  | Exp. Device
Model (1) |  | 11111 |  | Refrigerant |  | R-410A
Serial No. (1) |  | 22222 |  | Ref. Charge
Model (2) |  | 11 |  | Test Date |  | 2018-10-11 09:48:02
Serial No. (2) |  |  |  | File Name
Model (3) / Serial No. (3) |  |  |  | -
Indoor Side Test Condition |  |  |  | Outdoor Side Test Condition
DB & WB Temperature |  | 27.00 / 19.00 ℃ |  | DB & WB Temperature |  | 35.00 / 24.00 ℃
Test Record |  | Indoor, Cooling |  | Test Record |  | Outdoor
Memo
Total Results |  | Average | 1 min
Total Capacity | W
Total Power Input | W
EER/COP | W/W
Capacity Ratio | %
Power Input Ratio | %
EER/COP Ratio | %
Power Input (ID Unit) | W
Voltage | V
Current | A
Frequency | Hz
Power Factor | %
Power Input (OD Unit) | W
Voltage | V
Current | A
Frequency | Hz
Power Factor | %
Indoor Side B #1
Capacity | W
Capacity Ratio | %
Sensible Heat | W
Latent Heat | W
Sensible Heat Ratio | %
Heat Leakage | W
Drain Weight | kg/h
Entering DB | ℃
Entering WB | ℃
Entering RH | %
Leaving DB | ℃
Leaving WB | ℃
Leaving RH | %
Enthalpy [Ent] | kcal/kg'
Enthalpy [Lev] | kcal/kg'
Humidity Ratio [Ent] | kg/kg'
Humidity Ratio [Lev] | kg/kg'
Specific Heat [Lev] | kcal/kg℃
Specific Volume [Lev] | ㎥/kg
Air Flow [Lev] | CMM
Static Pressure | mmAq
Nozzle Diff. Pressure | mmAq
Atmospheric Pressure | mmHg
Nozzle Inlet Temp. | ℃
Nozzle (100/125/150/150)
Outdoor Side
Entering DB | ℃
Entering WB | ℃
Entering RH | %
Entering DP | ℃
LG-P14-ID.B-TD1 |  |  | LG Electronics |  | A4(210mm*297mm)

## ID B #2
PSYCHROMETRIC CALORIMETER DATA SHEET
Company |  | LG |  | Rated Capacity |  | 10.0 W
Test Name |  | calorimeter |  | Rated Power Input |  | 1.0 W
Test No. |  | 1111 |  | Rated EER/COP |  | 10.000 W/W
Observer |  | S.H.Lee |  | Power Source |  | 1V / 1A / 60Hz / 3-Phase 3-Wire
Maker |  | LG |  | Exp. Device
Model (1) |  | 11111 |  | Refrigerant |  | R-410A
Serial No. (1) |  | 22222 |  | Ref. Charge
Model (2) |  | 11 |  | Test Date |  | 2018-10-11 09:48:02
Serial No. (2) |  |  |  | File Name
Model (3) / Serial No. (3) |  |  |  | -
Indoor Side Test Condition |  |  |  | Outdoor Side Test Condition
DB & WB Temperature |  | 27.00 / 19.00 ℃ |  | DB & WB Temperature |  | 35.00 / 24.00 ℃
Test Record |  | Indoor, Cooling |  | Test Record |  | Outdoor
Memo
Total Results |  | Average | 1 min
Total Capacity | W
Total Power Input | W
EER/COP | W/W
Capacity Ratio | %
Power Input Ratio | %
EER/COP Ratio | %
Power Input (ID Unit) | W
Voltage | V
Current | A
Frequency | Hz
Power Factor | %
Power Input (OD Unit) | W
Voltage | V
Current | A
Frequency | Hz
Power Factor | %
Indoor Side B #2
Capacity | W
Capacity Ratio | %
Sensible Heat | W
Latent Heat | W
Sensible Heat Ratio | %
Heat Leakage | W
Drain Weight | kg/h
Entering DB | ℃
Entering WB | ℃
Entering RH | %
Leaving DB | ℃
Leaving WB | ℃
Leaving RH | %
Enthalpy [Ent] | kcal/kg'
Enthalpy [Lev] | kcal/kg'
Humidity Ratio [Ent] | kg/kg'
Humidity Ratio [Lev] | kg/kg'
Specific Heat [Lev] | kcal/kg℃
Specific Volume [Lev] | ㎥/kg
Air Flow [Lev] | CMM
Static Pressure | mmAq
Nozzle Diff. Pressure | mmAq
Atmospheric Pressure | mmHg
Nozzle Inlet Temp. | ℃
Nozzle (50/200/85/100)
Outdoor Side
Entering DB | ℃
Entering WB | ℃
Entering RH | %
Entering DP | ℃
LG-P14-ID.B-TD2 |  |  | LG Electronics |  | A4(210mm*297mm)

## ID A TC
THERMOCOUPLE DATA SHEET
Company |  |  | LG |  | Rated Capacity |  | 10.0 W
Test Name |  |  | calorimeter |  | Rated Power Input |  | 1.0 W
Test No. |  |  | 1111 |  | Rated EER/COP |  | 10.000 W/W
Observer |  |  | S.H.Lee |  | Power Source |  | 1V / 1A / 60Hz / 3-Phase 3-Wire
Maker |  |  | LG |  | Exp. Device
Model (1) |  |  | 11111 |  | Refrigerant |  | R-410A
Serial No. (1) |  |  | 22222 |  | Ref. Charge
Model (2) |  |  | 11 |  | Test Date |  | 2018-10-11 09:48:02
Serial No. (2) |  |  |  |  | File Name
Model (3) / Serial No. (3) |  |  |  |  | -
Indoor Side Test Condition |  |  |  |  | Outdoor Side Test Condition
DB & WB Temperature |  |  | 27.00 / 19.00 ℃ |  | DB & WB Temperature |  | 35.00 / 24.00 ℃
Test Record |  |  | Indoor, Cooling |  | Test Record |  | Outdoor
Memo
Thermocouple |  |  | Average | 1 min
Indoor Side A
[01] : | TC-001 | ℃
[02] : | TC-002 | ℃
[03] :
[04] :
[05] :
[06] :
[07] :
[08] :
[09] :
[10] :
[11] :
[12] :
[13] : | TC-007 | ℃
[14] :
[15] :
[16] :
[17] :
[18] :
[19] :
[20] :
[21] :
[22] :
[23] :
[24] : | 11111111 | ℃
[25] :
[26] :
[27] :
[28] :
[29] :
[30] :
[31] :
[32] :
[33] :
[34] :
[35] :
[36] :
[37] :
[38] :
[39] :
[40] :
[41] :
[42] :
[43] :
[44] :
[45] :
[46] :
[47] :
[48] :
[49] :
[50] :
[51] :
[52] :
[53] :
[54] :
[55] :
[56] :
[57] :
[58] :
[59] :
[60] :
LG-P14-ID.A-TC |  |  |  | LG Electronics |  | A4(210mm*297mm)

## ID B TC
THERMOCOUPLE DATA SHEET
Company |  |  | LG |  | Rated Capacity |  | 10.0 W
Test Name |  |  | calorimeter |  | Rated Power Input |  | 1.0 W
Test No. |  |  | 1111 |  | Rated EER/COP |  | 10.000 W/W
Observer |  |  | S.H.Lee |  | Power Source |  | 1V / 1A / 60Hz / 3-Phase 3-Wire
Maker |  |  | LG |  | Exp. Device
Model (1) |  |  | 11111 |  | Refrigerant |  | R-410A
Serial No. (1) |  |  | 22222 |  | Ref. Charge
Model (2) |  |  | 11 |  | Test Date |  | 2018-10-11 09:48:02
Serial No. (2) |  |  |  |  | File Name
Model (3) / Serial No. (3) |  |  |  |  | -
Indoor Side Test Condition |  |  |  |  | Outdoor Side Test Condition
DB & WB Temperature |  |  | 27.00 / 19.00 ℃ |  | DB & WB Temperature |  | 35.00 / 24.00 ℃
Test Record |  |  | Indoor, Cooling |  | Test Record |  | Outdoor
Memo
Thermocouple |  |  | Average | 1 min
Indoor Side B
[01] :
[02] :
[03] :
[04] :
[05] :
[06] :
[07] :
[08] :
[09] :
[10] : | TC-006 | ℃
[11] :
[12] :
[13] :
[14] :
[15] :
[16] :
[17] :
[18] :
[19] :
[20] :
[21] :
[22] :
[23] :
[24] :
[25] :
[26] :
[27] :
[28] :
[29] :
[30] : | e5735 | ℃
[31] :
[32] :
[33] :
[34] :
[35] :
[36] : | qwerwqe | ℃
[37] :
[38] :
[39] :
[40] :
[41] :
[42] :
[43] :
[44] :
[45] :
[46] :
[47] :
[48] :
[49] :
[50] :
[51] :
[52] :
[53] :
[54] :
[55] :
[56] :
[57] :
[58] :
[59] :
[60] :
LG-P14-ID.B-TC |  |  |  | LG Electronics |  | A4(210mm*297mm)

## OD TC
THERMOCOUPLE DATA SHEET
Company |  |  | LG |  | Rated Capacity |  | 10.0 W
Test Name |  |  | calorimeter |  | Rated Power Input |  | 1.0 W
Test No. |  |  | 1111 |  | Rated EER/COP |  | 10.000 W/W
Observer |  |  | S.H.Lee |  | Power Source |  | 1V / 1A / 60Hz / 3-Phase 3-Wire
Maker |  |  | LG |  | Exp. Device
Model (1) |  |  | 11111 |  | Refrigerant |  | R-410A
Serial No. (1) |  |  | 22222 |  | Ref. Charge
Model (2) |  |  | 11 |  | Test Date |  | 2018-10-11 09:48:02
Serial No. (2) |  |  |  |  | File Name
Model (3) / Serial No. (3) |  |  |  |  | -
Indoor Side Test Condition |  |  |  |  | Outdoor Side Test Condition
DB & WB Temperature |  |  | 27.00 / 19.00 ℃ |  | DB & WB Temperature |  | 35.00 / 24.00 ℃
Test Record |  |  | Indoor, Cooling |  | Test Record |  | Outdoor
Memo
Thermocouple |  |  | Average | 1 min
Outdoor Side
[01] :
[02] :
[03] :
[04] :
[05] :
[06] :
[07] :
[08] :
[09] :
[10] :
[11] :
[12] :
[13] :
[14] : | TC-010 | ℃
[15] :
[16] :
[17] :
[18] :
[19] :
[20] :
[21] :
[22] :
[23] :
[24] :
[25] :
[26] : | 4435325 | ℃
[27] :
[28] :
[29] :
[30] :
[31] :
[32] :
[33] :
[34] :
[35] :
[36] :
[37] :
[38] :
[39] :
[40] :
[41] :
[42] :
[43] :
[44] :
[45] :
[46] :
[47] :
[48] :
[49] :
[50] :
[51] :
[52] :
[53] :
[54] :
[55] :
[56] :
[57] :
[58] :
[59] :
[60] :
LG-P14-OD-TC |  |  |  | LG Electronics |  | A4(210mm*297mm)

## Raw Data (hidden)
File Name
Test Date
Test Start time
Test End time
ID1 DB & WB
ID1 Test Record
OD DB & WB
OD Test Record
ID2 DB & WB
ID2 Test Record
OD DB & WB
OD Test Record
ID DB & WB
ID Test Record
OD DB & WB
OD Test Record
ID3 DB & WB
ID3 Test Record
OD DB & WB
OD Test Record
ID4 DB & WB
ID4 Test Record
OD DB & WB
OD Test Record
ID1 DB & WB
ID1 Test Record
L/S Temp. & Flow
L/S Test Record
H/S Temp. & Flow
H/S Test Record
ID2 DB & WB
ID2 Test Record
L/S Temp. & Flow
L/S Test Record
H/S Temp. & Flow
H/S Test Record
OD DB & WB
OD Test Record
L/S Temp. & Flow
L/S Test Record
H/S Temp. & Flow
H/S Test Record
ID3 DB & WB
ID3 Test Record
L/S Temp. & Flow
L/S Test Record
H/S Temp. & Flow
H/S Test Record
ID4 DB & WB
ID4 Test Record
L/S Temp. & Flow
L/S Test Record
H/S Temp. & Flow
H/S Test Record
L/S Temp. & Flow
L/S Test Record
H/S Temp. & Flow
H/S Test Record
ID DB & WB
ID Test Record
OD DB & WB
OD Test Record
Company
Test Name
Test No.
Observer
Rated Capacity
Rated Power Input
Rated EER/COP
Power Source
Maker
Model 1
Serial No. 1
Model 2
Serial No. 2
Model 3
Serial No. 3
Exp. Device
Refrigerant
Ref. Charge
Memo