## ID A #1
PSYCHROMETRIC CALORIMETER DATA SHEET
Company |  |  |  |  | Rated Capacity |  | 0.0 W
Test Name |  |  |  |  | Rated Power Input |  | 0.0 W
Test No. |  |  |  |  | Rated EER/COP |  | 0.000 W/W
Observer |  |  |  |  | Power Source |  | 0V / 0A / 60Hz / 3-Phase 4-Wire
Maker |  |  |  |  | Exp. Device
Model (1) |  |  |  |  | Refrigerant
Serial No. (1) |  |  |  |  | Ref. Charge
Model (2) |  |  |  |  | Test Date |  | 2018-09-09 15:58:55
Serial No. (2) |  |  |  |  | File Name
Model (3) / Serial No. (3) |  |  |  |  | -
Indoor Side Test Condition |  |  |  |  | Outdoor Side Test Condition
DB & WB Temperature |  | 27.00 / 19.00 ℃ |  |  | DB & WB Temperature |  | 35.00 / 24.00 ℃
Test Record |  | Indoor, Cooling |  |  | Test Record |  | Outdoor
Memo
Total Results |  | Average | 5 min | 10 min | 15 min | 20 min | 25 min | 30 min | 35 min
Total Capacity | W | 1.9087 | 0 | 0 | 0 | 0 | 0 | 0 | 13.3611
Total Power Input | W | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
EER/COP | W/W | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Capacity Ratio | % | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Power Input Ratio | % | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
EER/COP Ratio | % | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Power Input (ID Unit) | W | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Voltage | V | 226.388 | 225.3185 | 225.776 | 226.1311 | 227.6117 | 226.6702 | 227.642 | 225.5667
Current | A | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Frequency | Hz | 60.0045 | 60.0052 | 60.0212 | 60.0101 | 60.0036 | 60.0025 | 59.9961 | 59.9927
Power Factor | % | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Power Input (OD Unit) | W | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Voltage | V | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Current | A | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Frequency | Hz | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Power Factor | % | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Indoor Side A #1
Capacity | W | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Capacity Ratio | % | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Sensible Heat | W | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Latent Heat | W | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Sensible Heat Ratio | % | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Heat Leakage | W | 1.4739 | 1.455 | 1.4651 | 1.4574 | 1.4806 | 1.4837 | 1.4876 | 1.4876
Drain Weight | kg/h | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Entering DB | ℃ | 24.9364 | 24.92 | 24.925 | 24.93 | 24.9383 | 24.9415 | 24.9495 | 24.9502
Entering WB | ℃ | 23.7654 | 23.81 | 23.8018 | 23.7917 | 23.7754 | 23.7552 | 23.7267 | 23.697
Entering RH | % | 90.4056 | 90.8696 | 90.7695 | 90.6539 | 90.4665 | 90.2885 | 90.0112 | 89.7798
Leaving DB | ℃ | 24.6195 | 24.6072 | 24.61 | 24.6167 | 24.62 | 24.6225 | 24.6297 | 24.6303
Leaving WB | ℃ | 22.4931 | 22.4992 | 22.4943 | 22.4983 | 22.49 | 22.49 | 22.49 | 22.4902
Leaving RH | % | 83.1126 | 83.245 | 83.1887 | 83.1709 | 83.0853 | 83.0676 | 83.017 | 83.0135
Enthalpy [Ent] | W/kg' | 19.713 | 19.764 | 19.7543 | 19.7419 | 19.7236 | 19.7011 | 19.6694 | 19.6365
Enthalpy [Lev] | W/kg' | 18.3406 | 18.3483 | 18.3426 | 18.3458 | 18.337 | 18.3369 | 18.3368 | 18.337
Humidity Ratio [Ent] | kg/kg' | 0.018031 | 0.01811 | 0.018094 | 0.018075 | 0.018045 | 0.018012 | 0.017964 | 0.017917
Humidity Ratio [Lev] | kg/kg' | 0.01622 | 0.016236 | 0.016226 | 0.016228 | 0.016214 | 0.016213 | 0.01621 | 0.01621
Specific Heat [Lev] | W/kg℃ | 0.28739 | 0.2874 | 0.28739 | 0.28739 | 0.28739 | 0.28739 | 0.28738 | 0.28738
Specific Volume [Lev] | ㎥/kg | 0.84828 | 0.84834 | 0.8483 | 0.84826 | 0.84826 | 0.84826 | 0.84828 | 0.84828
Air Flow [Lev] | CMM | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Static Pressure | mmAq | -0.01 | -0.01 | -0.01 | -0.01 | -0.01 | -0.01 | -0.01 | -0.01
Nozzle Diff. Pressure | mmAq | -0.03 | -0.031 | -0.03 | -0.03 | -0.03 | -0.03 | -0.029167 | -0.029833
Atmospheric Pressure | mmAq | 10375.4353 | 10374.447 | 10374.9358 | 10375.7066 | 10375.6834 | 10375.7738 | 10375.7514 | 10375.7514
Nozzle Inlet Temp. | ℃ | 24.9421 | 24.9 | 24.9 | 24.9017 | 24.9133 | 24.98 | 25 | 25
Nozzle (100/150/150/300) |  | X,X,X,X | X,X,X,X | X,X,X,X | X,X,X,X | X,X,X,X | X,X,X,X | X,X,X,X | X,X,X,X
Outdoor Side
Entering DB | ℃ | 21.4359 | 21.3473 | 21.3775 | 21.4057 | 21.4355 | 21.4667 | 21.4958 | 21.5232
Entering WB | ℃ | 20.6868 | 20.6277 | 20.654 | 20.678 | 20.697 | 20.7113 | 20.72 | 20.72
Entering RH | % | 93.1846 | 93.4194 | 93.3914 | 93.3602 | 93.2733 | 93.1363 | 92.9684 | 92.7433
Entering DP | ℃ | 20.3564 | 20.3093 | 20.3344 | 20.3569 | 20.3714 | 20.3785 | 20.3783 | 20.3661
LG-P14-ID.A-TD1 |  |  | LG Electronics |  |  | A4(210mm*297mm)

## ID A #2
PSYCHROMETRIC CALORIMETER DATA SHEET
Company |  |  |  |  | Rated Capacity |  | 0.0 W
Test Name |  |  |  |  | Rated Power Input |  | 0.0 W
Test No. |  |  |  |  | Rated EER/COP |  | 0.000 W/W
Observer |  |  |  |  | Power Source |  | 0V / 0A / 60Hz / 3-Phase 4-Wire
Maker |  |  |  |  | Exp. Device
Model (1) |  |  |  |  | Refrigerant
Serial No. (1) |  |  |  |  | Ref. Charge
Model (2) |  |  |  |  | Test Date |  | 2018-09-09 15:58:55
Serial No. (2) |  |  |  |  | File Name
Model (3) / Serial No. (3) |  |  |  |  | -
Indoor Side Test Condition |  |  |  |  | Outdoor Side Test Condition
DB & WB Temperature |  | 27.00 / 19.00 ℃ |  |  | DB & WB Temperature |  | 35.00 / 24.00 ℃
Test Record |  | Indoor, Cooling |  |  | Test Record |  | Outdoor
Memo
Total Results |  | Average | 5 min | 10 min | 15 min | 20 min | 25 min | 30 min | 35 min
Total Capacity | W | 1.9087 | 0 | 0 | 0 | 0 | 0 | 0 | 13.3611
Total Power Input | W | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
EER/COP | W/W | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Capacity Ratio | % | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Power Input Ratio | % | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
EER/COP Ratio | % | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Power Input (ID Unit) | W | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Voltage | V | 226.388 | 225.3185 | 225.776 | 226.1311 | 227.6117 | 226.6702 | 227.642 | 225.5667
Current | A | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Frequency | Hz | 60.0045 | 60.0052 | 60.0212 | 60.0101 | 60.0036 | 60.0025 | 59.9961 | 59.9927
Power Factor | % | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Power Input (OD Unit) | W | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Voltage | V | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Current | A | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Frequency | Hz | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Power Factor | % | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Indoor Side A #2
Capacity | W | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Capacity Ratio | % | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Sensible Heat | W | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Latent Heat | W | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Sensible Heat Ratio | % | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Heat Leakage | W | 1.5728 | 1.5109 | 1.5333 | 1.5605 | 1.5729 | 1.6 | 1.607 | 1.6248
Drain Weight | kg/h | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Entering DB | ℃ | 25.0174 | 24.9903 | 24.9997 | 25.0093 | 25.0182 | 25.0277 | 25.0355 | 25.0413
Entering WB | ℃ | 23.8834 | 23.9 | 23.9023 | 23.91 | 23.9068 | 23.8897 | 23.8571 | 23.8179
Entering RH | % | 90.7038 | 91.0333 | 90.9812 | 90.9674 | 90.8771 | 90.6748 | 90.3681 | 90.0245
Leaving DB | ℃ | 24.6793 | 24.6655 | 24.67 | 24.6738 | 24.68 | 24.6836 | 24.69 | 24.692
Leaving WB | ℃ | 22.7465 | 22.76 | 22.7545 | 22.7508 | 22.741 | 22.7408 | 22.7388 | 22.7392
Leaving RH | % | 84.5753 | 84.7759 | 84.7022 | 84.647 | 84.5293 | 84.5017 | 84.4415 | 84.4298
Enthalpy [Ent] | W/kg' | 19.8435 | 19.8636 | 19.8654 | 19.8729 | 19.8693 | 19.8499 | 19.8135 | 19.7696
Enthalpy [Lev] | W/kg' | 18.608 | 18.6238 | 18.6173 | 18.6124 | 18.6019 | 18.6016 | 18.5994 | 18.5997
Humidity Ratio [Ent] | kg/kg' | 0.018183 | 0.018222 | 0.018221 | 0.018228 | 0.018219 | 0.018187 | 0.018133 | 0.018068
Humidity Ratio [Lev] | kg/kg' | 0.016573 | 0.016601 | 0.01659 | 0.016582 | 0.016565 | 0.016563 | 0.016557 | 0.016557
Specific Heat [Lev] | W/kg℃ | 0.28757 | 0.28758 | 0.28758 | 0.28757 | 0.28757 | 0.28757 | 0.28756 | 0.28756
Specific Volume [Lev] | ㎥/kg | 0.84863 | 0.84868 | 0.84865 | 0.84859 | 0.84861 | 0.84861 | 0.84863 | 0.84863
Air Flow [Lev] | CMM | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Static Pressure | mmAq | -0.050809 | -0.05 | -0.05 | -0.050333 | -0.05 | -0.051833 | -0.051333 | -0.052167
Nozzle Diff. Pressure | mmAq | -0.064619 | -0.07 | -0.07 | -0.066833 | -0.0655 | -0.06 | -0.06 | -0.06
Atmospheric Pressure | mmAq | 10375.4353 | 10374.447 | 10374.9358 | 10375.7066 | 10375.6834 | 10375.7738 | 10375.7514 | 10375.7514
Nozzle Inlet Temp. | ℃ | 24.8776 | 24.8033 | 24.8317 | 24.8983 | 24.9 | 24.9 | 24.9 | 24.91
Nozzle (100/60/85/100) |  | O,X,X,X | O,X,X,X | O,X,X,X | O,X,X,X | O,X,X,X | O,X,X,X | O,X,X,X | O,X,X,X
Outdoor Side
Entering DB | ℃ | 21.4359 | 21.3473 | 21.3775 | 21.4057 | 21.4355 | 21.4667 | 21.4958 | 21.5232
Entering WB | ℃ | 20.6868 | 20.6277 | 20.654 | 20.678 | 20.697 | 20.7113 | 20.72 | 20.72
Entering RH | % | 93.1846 | 93.4194 | 93.3914 | 93.3602 | 93.2733 | 93.1363 | 92.9684 | 92.7433
Entering DP | ℃ | 20.3564 | 20.3093 | 20.3344 | 20.3569 | 20.3714 | 20.3785 | 20.3783 | 20.3661
LG-P14-ID.A-TD2 |  |  | LG Electronics |  |  | A4(210mm*297mm)

## ID B #1
PSYCHROMETRIC CALORIMETER DATA SHEET
Company |  |  |  |  | Rated Capacity |  | 0.0 W
Test Name |  |  |  |  | Rated Power Input |  | 0.0 W
Test No. |  |  |  |  | Rated EER/COP |  | 0.000 W/W
Observer |  |  |  |  | Power Source |  | 0V / 0A / 60Hz / 3-Phase 4-Wire
Maker |  |  |  |  | Exp. Device
Model (1) |  |  |  |  | Refrigerant
Serial No. (1) |  |  |  |  | Ref. Charge
Model (2) |  |  |  |  | Test Date |  | 2018-09-09 15:58:55
Serial No. (2) |  |  |  |  | File Name
Model (3) / Serial No. (3) |  |  |  |  | -
Indoor Side Test Condition |  |  |  |  | Outdoor Side Test Condition
DB & WB Temperature |  | 27.00 / 19.00 ℃ |  |  | DB & WB Temperature |  | 35.00 / 24.00 ℃
Test Record |  | Indoor, Cooling |  |  | Test Record |  | Outdoor
Memo
Total Results |  | Average | 5 min | 10 min | 15 min | 20 min | 25 min | 30 min | 35 min
Total Capacity | W | 1.9087 | 0 | 0 | 0 | 0 | 0 | 0 | 13.3611
Total Power Input | W | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
EER/COP | W/W | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Capacity Ratio | % | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Power Input Ratio | % | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
EER/COP Ratio | % | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Power Input (ID Unit) | W | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Voltage | V | 226.388 | 225.3185 | 225.776 | 226.1311 | 227.6117 | 226.6702 | 227.642 | 225.5667
Current | A | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Frequency | Hz | 60.0045 | 60.0052 | 60.0212 | 60.0101 | 60.0036 | 60.0025 | 59.9961 | 59.9927
Power Factor | % | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Power Input (OD Unit) | W | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Voltage | V | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Current | A | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Frequency | Hz | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Power Factor | % | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Indoor Side B #1
Capacity | W | 1.3743 | 0 | 0 | 0 | 0 | 0 | 0 | 9.6203
Capacity Ratio | % | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Sensible Heat | W | 0.97379 | 0 | 0 | 0 | 0 | 0 | 0 | 6.8165
Latent Heat | W | 0.40054 | 0 | 0 | 0 | 0 | 0 | 0 | 2.8038
Sensible Heat Ratio | % | 0.67481 | 0 | 0 | 0 | 0 | 0 | 0 | 4.7237
Heat Leakage | W | 4.7161 | 4.7388 | 4.7822 | 4.8062 | 4.7822 | 4.7163 | 4.6458 | 4.5411
Drain Weight | kg/h | 0.00058582 | 0 | 0 | 0 | 0 | 0 | 0 | 0.0041008
Entering DB | ℃ | 25.1154 | 25.0763 | 25.1003 | 25.1195 | 25.13 | 25.13 | 25.13 | 25.1217
Entering WB | ℃ | 22.1941 | 22.7525 | 22.6602 | 22.4335 | 22.1433 | 21.9308 | 21.7753 | 21.6628
Entering RH | % | 77.5499 | 81.8231 | 80.9848 | 79.2148 | 77.0678 | 75.5609 | 74.4667 | 73.7315
Leaving DB | ℃ | 24.1015 | 24.0575 | 24.0722 | 24.0862 | 24.1018 | 24.116 | 24.1312 | 24.1453
Leaving WB | ℃ | 20.8484 | 20.8302 | 20.836 | 20.8493 | 20.8515 | 20.86 | 20.8587 | 20.8535
Leaving RH | % | 74.6314 | 74.7929 | 74.7368 | 74.7393 | 74.6508 | 74.6176 | 74.5073 | 74.3753
Enthalpy [Ent] | W/kg' | 18.0222 | 18.6069 | 18.5081 | 18.2686 | 17.9662 | 17.7465 | 17.5875 | 17.4719
Enthalpy [Lev] | W/kg' | 16.6703 | 16.6535 | 16.6586 | 16.6711 | 16.6734 | 16.6813 | 16.6801 | 16.6737
Humidity Ratio [Ent] | kg/kg' | 0.015568 | 0.016411 | 0.016261 | 0.015915 | 0.015483 | 0.015173 | 0.014948 | 0.014788
Humidity Ratio [Lev] | kg/kg' | 0.014067 | 0.014061 | 0.014063 | 0.014075 | 0.014072 | 0.014077 | 0.014069 | 0.014054
Specific Heat [Lev] | W/kg℃ | 0.28629 | 0.28628 | 0.28628 | 0.28629 | 0.28629 | 0.28629 | 0.28629 | 0.28628
Specific Volume [Lev] | ㎥/kg | 0.84548 | 0.84541 | 0.84541 | 0.84543 | 0.84549 | 0.84552 | 0.84557 | 0.84552
Air Flow [Lev] | CMM | 0.011824 | 0 | 0 | 0 | 0 | 0 | 0 | 0.082769
Static Pressure | mmAq | -0.033952 | -0.030167 | -0.03 | -0.0305 | -0.030833 | -0.036167 | -0.04 | -0.04
Nozzle Diff. Pressure | mmAq | -0.003881 | -0.01 | -0.01 | -0.0073333 | -0.0005 | 0 | 0 | 0.00066667
Atmospheric Pressure | mmAq | 10378.6681 | 10377.9553 | 10378.4283 | 10378.7893 | 10378.5188 | 10378.7685 | 10378.586 | 10379.6315
Nozzle Inlet Temp. | ℃ | 24.9926 | 24.9 | 24.9133 | 24.9933 | 25 | 25 | 25.0417 | 25.1
Nozzle (100/125/150/150) |  | X,O,X,X | X,O,X,X | X,O,X,X | X,O,X,X | X,O,X,X | X,O,X,X | X,O,X,X | X,O,X,X
Outdoor Side
Entering DB | ℃ | 21.4359 | 21.3473 | 21.3775 | 21.4057 | 21.4355 | 21.4667 | 21.4958 | 21.5232
Entering WB | ℃ | 20.6868 | 20.6277 | 20.654 | 20.678 | 20.697 | 20.7113 | 20.72 | 20.72
Entering RH | % | 93.1846 | 93.4194 | 93.3914 | 93.3602 | 93.2733 | 93.1363 | 92.9684 | 92.7433
Entering DP | ℃ | 20.3564 | 20.3093 | 20.3344 | 20.3569 | 20.3714 | 20.3785 | 20.3783 | 20.3661
LG-P14-ID.B-TD1 |  |  | LG Electronics |  |  | A4(210mm*297mm)

## ID B #2
PSYCHROMETRIC CALORIMETER DATA SHEET
Company |  |  |  |  | Rated Capacity |  | 0.0 W
Test Name |  |  |  |  | Rated Power Input |  | 0.0 W
Test No. |  |  |  |  | Rated EER/COP |  | 0.000 W/W
Observer |  |  |  |  | Power Source |  | 0V / 0A / 60Hz / 3-Phase 4-Wire
Maker |  |  |  |  | Exp. Device
Model (1) |  |  |  |  | Refrigerant
Serial No. (1) |  |  |  |  | Ref. Charge
Model (2) |  |  |  |  | Test Date |  | 2018-09-09 15:58:55
Serial No. (2) |  |  |  |  | File Name
Model (3) / Serial No. (3) |  |  |  |  | -
Indoor Side Test Condition |  |  |  |  | Outdoor Side Test Condition
DB & WB Temperature |  | 27.00 / 19.00 ℃ |  |  | DB & WB Temperature |  | 35.00 / 24.00 ℃
Test Record |  | Indoor, Cooling |  |  | Test Record |  | Outdoor
Memo
Total Results |  | Average | 5 min | 10 min | 15 min | 20 min | 25 min | 30 min | 35 min
Total Capacity | W | 1.9087 | 0 | 0 | 0 | 0 | 0 | 0 | 13.3611
Total Power Input | W | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
EER/COP | W/W | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Capacity Ratio | % | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Power Input Ratio | % | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
EER/COP Ratio | % | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Power Input (ID Unit) | W | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Voltage | V | 226.388 | 225.3185 | 225.776 | 226.1311 | 227.6117 | 226.6702 | 227.642 | 225.5667
Current | A | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Frequency | Hz | 60.0045 | 60.0052 | 60.0212 | 60.0101 | 60.0036 | 60.0025 | 59.9961 | 59.9927
Power Factor | % | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Power Input (OD Unit) | W | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Voltage | V | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Current | A | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Frequency | Hz | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Power Factor | % | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Indoor Side B #2
Capacity | W | 0.5344 | 0 | 0 | 0 | 0 | 0 | 0 | 3.7408
Capacity Ratio | % | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Sensible Heat | W | 0.18146 | 0 | 0 | 0 | 0 | 0 | 0 | 1.2702
Latent Heat | W | 0.35294 | 0 | 0 | 0 | 0 | 0 | 0 | 2.4706
Sensible Heat Ratio | % | 0.32339 | 0 | 0 | 0 | 0 | 0 | 0 | 2.2637
Heat Leakage | W | 3.4243 | 3.4295 | 3.4822 | 3.5 | 3.4985 | 3.4396 | 3.3605 | 3.2597
Drain Weight | kg/h | 0.00051619 | 0 | 0 | 0 | 0 | 0 | 0 | 0.0036134
Entering DB | ℃ | 24.9648 | 24.9223 | 24.9478 | 24.9665 | 24.9793 | 24.9827 | 24.9802 | 24.9748
Entering WB | ℃ | 21.8311 | 22.1495 | 22.0283 | 21.9117 | 21.8437 | 21.7283 | 21.6477 | 21.5083
Entering RH | % | 75.9473 | 78.5019 | 77.4604 | 76.5019 | 75.9339 | 75.0949 | 74.5422 | 73.5964
Leaving DB | ℃ | 24.2286 | 24.185 | 24.1992 | 24.214 | 24.2271 | 24.2432 | 24.2577 | 24.274
Leaving WB | ℃ | 20.7143 | 20.69 | 20.69 | 20.6987 | 20.713 | 20.73 | 20.7385 | 20.74
Leaving RH | % | 72.8325 | 72.9447 | 72.8517 | 72.8163 | 72.8325 | 72.8489 | 72.8148 | 72.7182
Enthalpy [Ent] | W/kg' | 17.6471 | 17.9753 | 17.8493 | 17.7285 | 17.659 | 17.541 | 17.4592 | 17.317
Enthalpy [Lev] | W/kg' | 16.5376 | 16.5151 | 16.5144 | 16.5224 | 16.5365 | 16.5527 | 16.561 | 16.5612
Humidity Ratio [Ent] | kg/kg' | 0.015099 | 0.01558 | 0.015392 | 0.015213 | 0.01511 | 0.014942 | 0.014827 | 0.014628
Humidity Ratio [Lev] | kg/kg' | 0.013828 | 0.013814 | 0.013807 | 0.013813 | 0.013827 | 0.013844 | 0.01385 | 0.013843
Specific Heat [Lev] | W/kg℃ | 0.28616 | 0.28616 | 0.28615 | 0.28615 | 0.28616 | 0.28617 | 0.28617 | 0.28617
Specific Volume [Lev] | ㎥/kg | 0.84572 | 0.84565 | 0.84565 | 0.84566 | 0.84573 | 0.84576 | 0.84582 | 0.84578
Air Flow [Lev] | CMM | 0.010039 | 0 | 0 | 0 | 0 | 0 | 0 | 0.070272
Static Pressure | mmAq | -0.07 | -0.07 | -0.07 | -0.07 | -0.07 | -0.07 | -0.07 | -0.07
Nozzle Diff. Pressure | mmAq | -0.0035238 | -0.01 | -0.01 | -0.0053333 | 0 | 0 | 0 | 0.00066667
Atmospheric Pressure | mmAq | 10378.6681 | 10377.9553 | 10378.4283 | 10378.7893 | 10378.5188 | 10378.7685 | 10378.586 | 10379.6315
Nozzle Inlet Temp. | ℃ | 25.01 | 24.9533 | 24.9933 | 25 | 25 | 25.0083 | 25.0283 | 25.0867
Nozzle (50/200/85/100) |  | X,X,O,X | X,X,O,X | X,X,O,X | X,X,O,X | X,X,O,X | X,X,O,X | X,X,O,X | X,X,O,X
Outdoor Side
Entering DB | ℃ | 21.4359 | 21.3473 | 21.3775 | 21.4057 | 21.4355 | 21.4667 | 21.4958 | 21.5232
Entering WB | ℃ | 20.6868 | 20.6277 | 20.654 | 20.678 | 20.697 | 20.7113 | 20.72 | 20.72
Entering RH | % | 93.1846 | 93.4194 | 93.3914 | 93.3602 | 93.2733 | 93.1363 | 92.9684 | 92.7433
Entering DP | ℃ | 20.3564 | 20.3093 | 20.3344 | 20.3569 | 20.3714 | 20.3785 | 20.3783 | 20.3661
LG-P14-ID.B-TD2 |  |  | LG Electronics |  |  | A4(210mm*297mm)

## ID A TC (hidden)
THERMOCOUPLE DATA SHEET
Company |  |  | Rated Capacity
Test Name |  |  | Rated Power Input
Test No. |  |  | Rated EER/COP
Observer |  |  | Power Source
Maker |  |  | Exp. Device
Model (1) |  |  | Refrigerant
Serial No. (1) |  |  | Ref. Charge
Model (2) |  |  | Test Date
Serial No. (2) |  |  | File Name
Model (3) / Serial No. (3) |  |  | -
Indoor Side Test Condition |  |  | Outdoor Side Test Condition
DB & WB Temperature |  |  | DB & WB Temperature
Test Record |  |  | Test Record
Memo
Thermocouple
Indoor Side A
[01] :
[02] :
[03] :
[04] :
[05] :
[06] :
[07] :
[08] :
[09] :
[10] :
[11] :
[12] :
[13] :
[14] :
[15] :
[16] :
[17] :
[18] :
[19] :
[20] :
[21] :
[22] :
[23] :
[24] :
[25] :
[26] :
[27] :
[28] :
[29] :
[30] :
[31] :
[32] :
[33] :
[34] :
[35] :
[36] :
[37] :
[38] :
[39] :
[40] :
[41] :
[42] :
[43] :
[44] :
[45] :
[46] :
[47] :
[48] :
[49] :
[50] :
[51] :
[52] :
[53] :
[54] :
[55] :
[56] :
[57] :
[58] :
[59] :
[60] :
LG-P14-ID.A-TC |  | LG Electronics |  | A4(210mm*297mm)

## ID B TC (hidden)
THERMOCOUPLE DATA SHEET
Company |  |  | Rated Capacity
Test Name |  |  | Rated Power Input
Test No. |  |  | Rated EER/COP
Observer |  |  | Power Source
Maker |  |  | Exp. Device
Model (1) |  |  | Refrigerant
Serial No. (1) |  |  | Ref. Charge
Model (2) |  |  | Test Date
Serial No. (2) |  |  | File Name
Model (3) / Serial No. (3) |  |  | -
Indoor Side Test Condition |  |  | Outdoor Side Test Condition
DB & WB Temperature |  |  | DB & WB Temperature
Test Record |  |  | Test Record
Memo
Thermocouple
Indoor Side B
[01] :
[02] :
[03] :
[04] :
[05] :
[06] :
[07] :
[08] :
[09] :
[10] :
[11] :
[12] :
[13] :
[14] :
[15] :
[16] :
[17] :
[18] :
[19] :
[20] :
[21] :
[22] :
[23] :
[24] :
[25] :
[26] :
[27] :
[28] :
[29] :
[30] :
[31] :
[32] :
[33] :
[34] :
[35] :
[36] :
[37] :
[38] :
[39] :
[40] :
[41] :
[42] :
[43] :
[44] :
[45] :
[46] :
[47] :
[48] :
[49] :
[50] :
[51] :
[52] :
[53] :
[54] :
[55] :
[56] :
[57] :
[58] :
[59] :
[60] :
LG-P14-ID.B-TC |  | LG Electronics |  | A4(210mm*297mm)

## OD TC (hidden)
THERMOCOUPLE DATA SHEET
Company |  |  | Rated Capacity
Test Name |  |  | Rated Power Input
Test No. |  |  | Rated EER/COP
Observer |  |  | Power Source
Maker |  |  | Exp. Device
Model (1) |  |  | Refrigerant
Serial No. (1) |  |  | Ref. Charge
Model (2) |  |  | Test Date
Serial No. (2) |  |  | File Name
Model (3) / Serial No. (3) |  |  | -
Indoor Side Test Condition |  |  | Outdoor Side Test Condition
DB & WB Temperature |  |  | DB & WB Temperature
Test Record |  |  | Test Record
Memo
Thermocouple
Outdoor Side
[01] :
[02] :
[03] :
[04] :
[05] :
[06] :
[07] :
[08] :
[09] :
[10] :
[11] :
[12] :
[13] :
[14] :
[15] :
[16] :
[17] :
[18] :
[19] :
[20] :
[21] :
[22] :
[23] :
[24] :
[25] :
[26] :
[27] :
[28] :
[29] :
[30] :
[31] :
[32] :
[33] :
[34] :
[35] :
[36] :
[37] :
[38] :
[39] :
[40] :
[41] :
[42] :
[43] :
[44] :
[45] :
[46] :
[47] :
[48] :
[49] :
[50] :
[51] :
[52] :
[53] :
[54] :
[55] :
[56] :
[57] :
[58] :
[59] :
[60] :
LG-P14-OD-TC |  | LG Electronics |  | A4(210mm*297mm)

## Raw Data (hidden)
File Name
Test Date
Test Start time
Test End time
ID1 DB & WB
ID1 Test Record
OD DB & WB
OD Test Record
ID2 DB & WB
ID2 Test Record
OD DB & WB
OD Test Record
ID DB & WB
ID Test Record
OD DB & WB
OD Test Record
ID3 DB & WB
ID3 Test Record
OD DB & WB
OD Test Record
ID4 DB & WB
ID4 Test Record
OD DB & WB
OD Test Record
ID1 DB & WB
ID1 Test Record
L/S Temp. & Flow
L/S Test Record
H/S Temp. & Flow
H/S Test Record
ID2 DB & WB
ID2 Test Record
L/S Temp. & Flow
L/S Test Record
H/S Temp. & Flow
H/S Test Record
OD DB & WB
OD Test Record
L/S Temp. & Flow
L/S Test Record
H/S Temp. & Flow
H/S Test Record
ID3 DB & WB
ID3 Test Record
L/S Temp. & Flow
L/S Test Record
H/S Temp. & Flow
H/S Test Record
ID4 DB & WB
ID4 Test Record
L/S Temp. & Flow
L/S Test Record
H/S Temp. & Flow
H/S Test Record
L/S Temp. & Flow
L/S Test Record
H/S Temp. & Flow
H/S Test Record
ID DB & WB
ID Test Record
OD DB & WB
OD Test Record
Company
Test Name
Test No.
Observer
Rated Capacity
Rated Power Input
Rated EER/COP
Power Source
Maker
Model 1
Serial No. 1
Model 2
Serial No. 2
Model 3
Serial No. 3
Exp. Device
Refrigerant
Ref. Charge
Memo