## Summary (1)
TR-7 PSYCHROMETRIC CALORIMETER TEST REPORT | [11 empty] | {end}
| Application No. | : | {100} |  |  |  |  | Page | : | 1 / 2
| Test Date | : | {102} |  |  |  |  | Test Mode | : | {101}
| Measured Date | : | {104} |  |  |  |  | File Name | : | {195}
| Operator | : | {105} |  |  |  | Technical Manager |  | : | {181}
1. Facility Descriptions
| Model Name |  | : | {106:CLK HVAC Test Lab. TR-7} |  |  |  | Test Room | : | TR-7( #1 )
| Test Method |  | : | {107:Psychrometric Type Calorimeter}
| Capacity Range |  | : | {108:4,400 ~ 23,000 W (15,000 ~ 78,000 Btu/h)}
2. Test Conditions
| Test Standard |  |  | : | {110:KS C 9306} |  | Test Condition Name |  | : | {111}
| Indoor1 Room DBT |  |  | : | {112} | ℃ | Indoor1 Room WBT |  | : | {113} | ℃
| Indoor2 Room DBT |  |  | : | {112-3} | ℃ | Indoor2 Room WBT |  | : | {113-3} | ℃
| Outdoor Room DBT |  |  | : | {114} | ℃ | Outdoor Room WBT |  | : | {115} | ℃
3. Unit Specifications
| Unit Model Name |  |  | : | {116} |  | Rated Capacity |  | : | {118} | {118-1:W}
| Compressor Model Name |  |  | : | {124} |  | Rated Power Input |  | : | {119} | W
| Compressor Control Type |  |  | : | {121} |  | Power Source |  | : | {120}
| Expansion Device Type |  |  | : | {117} |  | Refrigerant / Amount |  | : | {123}
| Unit Operating Specification |  |  | : | {125}
4. Indoor Side Test Results
| Total Capacity |  |  | : | {126} | {126-1:W} | Capacity Ratio |  | : | {127} | %
| EER/COP |  |  | : | {133} | {133-1:W/W} | EER/COP Ratio |  | : | {134} | %
| ID1 Capacity |  |  | : | {174} | {174-1:W} | ID1 Capacity Ratio |  | : | {175} | %
| ID1 Sensible Heat Ratio |  |  | : | {130} | % | ID1 Air Flow Rate |  | : | {135} | {135-1:CMM}
| ID1 Static Pressure |  |  | : | {136} | Pa | ID1 Nozzle Diff. Pressure |  | : | {137} | Pa
| ID1 Entering DB |  |  | : | {138} | ℃ | ID1 Entering WB |  | : | {139} | ℃
| ID1 Leaving DB |  |  | : | {142} | ℃ | ID1 Leaving WB |  | : | {143} | ℃
| ID2 Capacity |  |  | : | {174-3} | {174-4:W} | ID2 Capacity Ratio |  | : | {175-3} | %
| ID2 Sensible Heat Ratio |  |  | : | {130-3} | % | ID2 Air Flow Rate |  | : | {135-3} | {135-4:CMM}
| ID2 Static Pressure |  |  | : | {136-3} | Pa | ID2 Nozzle Diff. Pressure |  | : | {137-3} | Pa
| ID2 Entering DB |  |  | : | {138-3} | ℃ | ID2 Entering WB |  | : | {139-3} | ℃
| ID2 Leaving DB |  |  | : | {142-3} | ℃ | ID2 Leaving WB |  | : | {143-3} | ℃
5. Outdoor Side Test Results
| Outdoor Room DB |  |  | : | {148} | ℃ | Outdoor Room WB |  | : | {149} | ℃
| Barometric Pressure |  |  | : | {150} | kPa
6. Electirical Test Results
| Unit Voltage |  |  | : | {152} | V | Unit Current |  | : | {153} | A
| Unit Frequency |  |  | : | {154} | Hz | Unit Power Factor |  | : | {155} | %
| Unit Power Input |  |  | : | {156} | W | Power Input Ratio |  | : | {157} | %
7. ID/OD Fan Motor Speed
| Indoor Side No.1 |  |  | : | {158} | RPM | Indoor Side No.2 |  | : | {158-3} | RPM
| Outdoor Side |  |  | : | {159} | RPM
8. Refrigerant Side
| Pressure Discharge (1) |  |  | : | {160} | {160-1:kgf/㎠G} | Pressure Suction (1) |  | : | {161} | {161-1:kgf/㎠G}
| Sat. Discharge Temp. (1) |  |  | : | {162} | ℃ | Sat. Suction Temp. (1) |  | : | {163} | ℃
| Sub-Cooling (1) |  |  | : | {164} | ℃ | Superheat (1) |  | : | {165} | ℃
| Pressure Discharge (2) |  |  | : | {166} | {166-1:kgf/㎠G} | Pressure Suction (2) |  | : | {167} | {167-1:kgf/㎠G}
| Sat. Discharge Temp. (2) |  |  | : | {168} | ℃ | Sat. Suction Temp. (2) |  | : | {169} | ℃
| Sub-Cooling (2) |  |  | : | {170} | ℃ | Superheat (2) |  | : | {171} | ℃
9. Nozzle Status
| 80￠ / 100￠ / 120￠ / 140￠ |  |  | : | {180} | - | 80￠ / 100￠ / 120￠ / 140￠ |  | : | {180-3} | -
10. Operator Checks
{173}
TEQP-26-07-1 |  |  |  | 오텍캐리어 기술연구소 |  |  |  |  | A4(210mm*297mm)
{end}

## Summary (3)
TR-7 PSYCHROMETRIC CALORIMETER TEST REPORT | [11 empty] | {end}
| Application No. | : | {200} |  |  |  |  | Page | : | 1 / 2
| Test Date | : | {202} |  |  |  |  | Test Mode | : | {201}
| Measured Date | : | {204} |  |  |  |  | File Name | : | {295}
| Operator | : | {205} |  |  |  | Technical Manager |  | : | {281}
1. Facility Descriptions
| Model Name |  | : | {206:CLK HVAC Test Lab. TR-7} |  |  |  | Test Room | : | TR-7( #1 )
| Test Method |  | : | {207:Psychrometric Type Calorimeter}
| Capacity Range |  | : | {208:4,400 ~ 23,000 W (15,000 ~ 78,000 Btu/h)}
2. Test Conditions
| Test Standard |  |  | : | {210:KS C 9306} |  | Test Condition Name |  | : | {211}
| Indoor1 Room DBT |  |  | : | {212} | ℃ | Indoor1 Room WBT |  | : | {213} | ℃
| Outdoor Room DBT |  |  | : | {214} | ℃ | Outdoor Room WBT |  | : | {215} | ℃
| Water Inlet Temp. |  |  | : | {282} | ℃ | Water Outlet Temp. |  | : | {283} | ℃
| Water Tank Temp. |  |  | : | {284} | ℃ | Water Flow Rate |  | : | {285} | g/s
3. Unit Specifications
| Unit Model Name |  |  | : | {216} |  | Rated Capacity |  | : | {218} | {218-1:W}
| Compressor Model Name |  |  | : | {224} |  | Rated Power Input |  | : | {219} | W
| Compressor Control Type |  |  | : | {221} |  | Power Source |  | : | {220}
| Expansion Device Type |  |  | : | {217} |  | Refrigerant / Amount |  | : | {223}
| Unit Operating Specification |  |  | : | {225}
4. Water Side Test Results
| Total Capacity |  |  | : | {286} | {286-1:W} | Capacity Ratio |  | : | {287} | %
| Water Capacity |  |  | : | {288} | {288-1:W} | Water Flow Rate |  | : | {289} | g/s
| EER/COP |  |  | : | {290} | {290-1:W/W} | EER/COP Ratio |  | : | {291} | %
| Water Inlet Temp. |  |  | : | {292} | ℃ | Water Outlet Temp. |  | : | {293} | ℃
| Water Tank Temp. |  |  | : | {294} | ℃
5. Indoor Side No.1 Test Results
| ID1 Capacity |  |  | : | {274} | {274-1:W}
| ID1 Entering DB |  |  | : | {238} | ℃ | ID1 Entering WB |  | : | {239} | ℃
6. Outdoor Side Test Results
| Outdoor Room DB |  |  | : | {248} | ℃ | Outdoor Room WB |  | : | {249} | ℃
| Barometric Pressure |  |  | : | {250} | kPa
7. Electirical Test Results
| Unit Voltage |  |  | : | {252} | V | Unit Current |  | : | {253} | A
| Unit Frequency |  |  | : | {254} | Hz | Unit Power Factor |  | : | {255} | %
| Unit Power Input |  |  | : | {256} | W | Power Input Ratio |  | : | {257} | %
8. ID/OD Fan Motor Speed
| Indoor Side No.1 |  |  | : | {258} | RPM
| Outdoor Side |  |  | : | {259} | RPM
9. Refrigerant Side
| Pressure Discharge (1) |  |  | : | {260} | {260-1:kgf/㎠G} | Pressure Suction (1) |  | : | {261} | {261-1:kgf/㎠G}
| Sat. Discharge Temp. (1) |  |  | : | {262} | ℃ | Sat. Suction Temp. (1) |  | : | {263} | ℃
| Sub-Cooling (1) |  |  | : | {264} | ℃ | Superheat (1) |  | : | {265} | ℃
| Pressure Discharge (2) |  |  | : | {266} | {266-1:kgf/㎠G} | Pressure Suction (2) |  | : | {267} | {267-1:kgf/㎠G}
| Sat. Discharge Temp. (2) |  |  | : | {268} | ℃ | Sat. Suction Temp. (2) |  | : | {269} | ℃
| Sub-Cooling (2) |  |  | : | {270} | ℃ | Superheat (2) |  | : | {271} | ℃
10. Operator Checks
{273}
TEQP-26-07-1 |  |  |  | 오텍캐리어 기술연구소 |  |  |  |  | A4(210mm*297mm)
{end}

## Summary (4)
TR-7 PSYCHROMETRIC CALORIMETER TEST REPORT | [11 empty] | {end}
| Application No. | : | {200} |  |  |  |  | Page | : | 1 / 2
| Test Date | : | {202} |  |  |  |  | Test Mode | : | {201}
| Measured Date | : | {204} |  |  |  |  | File Name | : | {295}
| Operator | : | {205} |  |  |  | Technical Manager |  | : | {281}
1. Facility Descriptions
| Model Name |  | : | {206:CLK HVAC Test Lab. TR-7} |  |  |  | Test Room | : | TR-7( #2 )
| Test Method |  | : | {207:Psychrometric Type Calorimeter}
| Capacity Range |  | : | {208:4,400 ~ 23,000 W (15,000 ~ 78,000 Btu/h)}
2. Test Conditions
| Test Standard |  |  | : | {210:KS C 9306} |  | Test Condition Name |  | : | {211}
| Indoor2 Room DBT |  |  | : | {212} | ℃ | Indoor2 Room WBT |  | : | {213} | ℃
| Outdoor Room DBT |  |  | : | {214} | ℃ | Outdoor Room WBT |  | : | {215} | ℃
| Water Inlet Temp. |  |  | : | {282} | ℃ | Water Outlet Temp. |  | : | {283} | ℃
| Water Tank Temp. |  |  | : | {284} | ℃ | Water Flow Rate |  | : | {285} | g/s
3. Unit Specifications
| Unit Model Name |  |  | : | {216} |  | Rated Capacity |  | : | {218} | {218-1:W}
| Compressor Model Name |  |  | : | {224} |  | Rated Power Input |  | : | {219} | W
| Compressor Control Type |  |  | : | {221} |  | Power Source |  | : | {220}
| Expansion Device Type |  |  | : | {217} |  | Refrigerant / Amount |  | : | {223}
| Unit Operating Specification |  |  | : | {225}
4. Water Side Test Results
| Total Capacity |  |  | : | {286} | {286-1:W} | Capacity Ratio |  | : | {287} | %
| Water Capacity |  |  | : | {288} | {288-1:W} | Water Flow Rate |  | : | {289} | g/s
| EER/COP |  |  | : | {290} | {290-1:W/W} | EER/COP Ratio |  | : | {291} | %
| Water Inlet Temp. |  |  | : | {292} | ℃ | Water Outlet Temp. |  | : | {293} | ℃
| Water Tank Temp. |  |  | : | {294} | ℃
5. Indoor Side No.2 Test Results
| ID2 Capacity |  |  | : | {274} | {274-1:W}
| ID2 Entering DB |  |  | : | {238} | ℃ | ID2 Entering WB |  | : | {239} | ℃
6. Outdoor Side Test Results
| Outdoor Room DB |  |  | : | {248} | ℃ | Outdoor Room WB |  | : | {249} | ℃
| Barometric Pressure |  |  | : | {250} | kPa
7. Electirical Test Results
| Unit Voltage |  |  | : | {252} | V | Unit Current |  | : | {253} | A
| Unit Frequency |  |  | : | {254} | Hz | Unit Power Factor |  | : | {255} | %
| Unit Power Input |  |  | : | {256} | W | Power Input Ratio |  | : | {257} | %
8. ID/OD Fan Motor Speed
| Indoor Side No.2 |  |  | : | {258} | RPM
| Outdoor Side |  |  | : | {259} | RPM
9. Refrigerant Side
| Pressure Discharge (1) |  |  | : | {260} | {260-1:kgf/㎠G} | Pressure Suction (1) |  | : | {261} | {261-1:kgf/㎠G}
| Sat. Discharge Temp. (1) |  |  | : | {262} | ℃ | Sat. Suction Temp. (1) |  | : | {263} | ℃
| Sub-Cooling (1) |  |  | : | {264} | ℃ | Superheat (1) |  | : | {265} | ℃
| Pressure Discharge (2) |  |  | : | {266} | {266-1:kgf/㎠G} | Pressure Suction (2) |  | : | {267} | {267-1:kgf/㎠G}
| Sat. Discharge Temp. (2) |  |  | : | {268} | ℃ | Sat. Suction Temp. (2) |  | : | {269} | ℃
| Sub-Cooling (2) |  |  | : | {270} | ℃ | Superheat (2) |  | : | {271} | ℃
10. Operator Checks
{273}
TEQP-26-07-1 |  |  |  | 오텍캐리어 기술연구소 |  |  |  |  | A4(210mm*297mm)
{end}

## Test Data (1)
{end}
TR-7 PSYCHROMETRIC CALORIMETER RAW DATA SHEET
Test Date
| Application No. |  |  | {300} |  |  | Page |  | {301:2/2}
| Test Date |  |  | {302} |  |  | Test Mode |  | {303}
| Measured Date |  |  | {304} |  |  | File Name |  | {305}
| Operator |  |  | {306} |  |  | Technical Manager |  | {307}
Unit Specifications
| Unit Model Name |  |  | {308} |  |  | Test Condition Name |  | {309}
| ID / OD Model |  |  | {310} |  |  | Rated Capacity |  | {311}
| Compressor Model Name |  |  | {312} |  |  | Rated Power Input |  | {313}
| Compressor Control Type |  |  | {314} |  |  | Power Source |  | {315}
| Expansion Device Type |  |  | {318} |  |  | Refrigerant / Amount |  | {319}
| Unit Operating Specification |  |  | {316}
| Indoor Side No.1 Test Condition | [5 empty] | Outdoor Side Test Condition
| DB & WB Temperature |  |  | {320} |  |  | DB & WB Temperature |  | {321}
| Test Record |  |  | {322} |  |  | Test Record |  | {323}
Operator Checks
{3memo}
|  | Measuring Data |  | {3c-0:Average} | {3c-1:5 min} | {3c-2:10 min} | {3c-3:15 min} | {3c-4:20 min} | {3c-5:25 min} | {3c-6:30 min} | {3c-7:35 min}
| 1 | Total Capacity | {324} | {324-0} | {324-1} | {324-2} | {324-3} | {324-4} | {324-5} | {324-6} | {324-7}
| 2 | Power Input | {325} | {325-0} | {325-1} | {325-2} | {325-3} | {325-4} | {325-5} | {325-6} | {325-7}
| 3 | EER/COP | {326} | {326-0} | {326-1} | {326-2} | {326-3} | {326-4} | {326-5} | {326-6} | {326-7}
| 4 | Capacity Ratio | {327} | {327-0} | {327-1} | {327-2} | {327-3} | {327-4} | {327-5} | {327-6} | {327-7}
| 5 | Power Input Ratio | {328} | {328-0} | {328-1} | {328-2} | {328-3} | {328-4} | {328-5} | {328-6} | {328-7}
| 6 | EER/COP Ratio | {329} | {329-0} | {329-1} | {329-2} | {329-3} | {329-4} | {329-5} | {329-6} | {329-7}
| 7 | Current Ratio | {330} | {330-0} | {330-1} | {330-2} | {330-3} | {330-4} | {330-5} | {330-6} | {330-7}
| 8 | Voltage | {331} | {331-0} | {331-1} | {331-2} | {331-3} | {331-4} | {331-5} | {331-6} | {331-7}
| 9 | {332-n: Voltage (R-N)} | {332} | {332-0} | {332-1} | {332-2} | {332-3} | {332-4} | {332-5} | {332-6} | {332-7}
| 10 | {333-n: Voltage (S-N)} | {333} | {333-0} | {333-1} | {333-2} | {333-3} | {333-4} | {333-5} | {333-6} | {333-7}
| 11 | {334-n: Voltage (T-N)} | {334} | {334-0} | {334-1} | {334-2} | {334-3} | {334-4} | {334-5} | {334-6} | {334-7}
| 12 | Current | {335} | {335-0} | {335-1} | {335-2} | {335-3} | {335-4} | {335-5} | {335-6} | {335-7}
| 13 | Current (R) | {336} | {336-0} | {336-1} | {336-2} | {336-3} | {336-4} | {336-5} | {336-6} | {336-7}
| 14 | Current (S) | {337} | {337-0} | {337-1} | {337-2} | {337-3} | {337-4} | {337-5} | {337-6} | {337-7}
| 15 | Current (T) | {338} | {338-0} | {338-1} | {338-2} | {338-3} | {338-4} | {338-5} | {338-6} | {338-7}
| 16 | Frequency | {339} | {339-0} | {339-1} | {339-2} | {339-3} | {339-4} | {339-5} | {339-6} | {339-7}
| 17 | Power Factor | {340} | {340-0} | {340-1} | {340-2} | {340-3} | {340-4} | {340-5} | {340-6} | {340-7}
Indoor Side No.1
| 18 | Capacity | {341} | {341-0} | {341-1} | {341-2} | {341-3} | {341-4} | {341-5} | {341-6} | {341-7}
| 19 | Capacity Ratio | {383} | {383-0} | {383-1} | {383-2} | {383-3} | {383-4} | {383-5} | {383-6} | {383-7}
| 20 | Sensible Heat | {342} | {342-0} | {342-1} | {342-2} | {342-3} | {342-4} | {342-5} | {342-6} | {342-7}
| 21 | Latent Heat | {343} | {343-0} | {343-1} | {343-2} | {343-3} | {343-4} | {343-5} | {343-6} | {343-7}
| 22 | Sensible Heat Ratio | {344} | {344-0} | {344-1} | {344-2} | {344-3} | {344-4} | {344-5} | {344-6} | {344-7}
| 23 | Heat Leakage | {345} | {345-0} | {345-1} | {345-2} | {345-3} | {345-4} | {345-5} | {345-6} | {345-7}
| 24 | Drain Weight | {346} | {346-0} | {346-1} | {346-2} | {346-3} | {346-4} | {346-5} | {346-6} | {346-7}
| 25 | Entering DB | {347} | {347-0} | {347-1} | {347-2} | {347-3} | {347-4} | {347-5} | {347-6} | {347-7}
| 26 | Entering WB | {348} | {348-0} | {348-1} | {348-2} | {348-3} | {348-4} | {348-5} | {348-6} | {348-7}
| 27 | Entering RH | {349} | {349-0} | {349-1} | {349-2} | {349-3} | {349-4} | {349-5} | {349-6} | {349-7}
| 28 | Leaving DB | {350} | {350-0} | {350-1} | {350-2} | {350-3} | {350-4} | {350-5} | {350-6} | {350-7}
| 29 | Leaving WB | {351} | {351-0} | {351-1} | {351-2} | {351-3} | {351-4} | {351-5} | {351-6} | {351-7}
| 30 | Leaving RH | {352} | {352-0} | {352-1} | {352-2} | {352-3} | {352-4} | {352-5} | {352-6} | {352-7}
| 31 | Enthalpy [Ent] | {353} | {353-0} | {353-1} | {353-2} | {353-3} | {353-4} | {353-5} | {353-6} | {353-7}
| 32 | Enthalpy [Lev] | {354} | {354-0} | {354-1} | {354-2} | {354-3} | {354-4} | {354-5} | {354-6} | {354-7}
| 33 | Humidity Ratio [Ent] | {355} | {355-0} | {355-1} | {355-2} | {355-3} | {355-4} | {355-5} | {355-6} | {355-7}
| 34 | Humidity Ratio [Lev] | {356} | {356-0} | {356-1} | {356-2} | {356-3} | {356-4} | {356-5} | {356-6} | {356-7}
| 35 | Specific Heat [Lev] | {357} | {357-0} | {357-1} | {357-2} | {357-3} | {357-4} | {357-5} | {357-6} | {357-7}
| 36 | Specific Volume [Lev] | {358} | {358-0} | {358-1} | {358-2} | {358-3} | {358-4} | {358-5} | {358-6} | {358-7}
| 37 | Air Flow [Lev] | {359} | {359-0} | {359-1} | {359-2} | {359-3} | {359-4} | {359-5} | {359-6} | {359-7}
| 38 | Static Pressure | {360} | {360-0} | {360-1} | {360-2} | {360-3} | {360-4} | {360-5} | {360-6} | {360-7}
| 39 | Nozzle Diff. Pressure | {361} | {361-0} | {361-1} | {361-2} | {361-3} | {361-4} | {361-5} | {361-6} | {361-7}
| 40 | Barometric Pressure | {362} | {362-0} | {362-1} | {362-2} | {362-3} | {362-4} | {362-5} | {362-6} | {362-7}
| 41 | Nozzle Inlet Temp. | {363} | {363-0} | {363-1} | {363-2} | {363-3} | {363-4} | {363-5} | {363-6} | {363-7}
| 42 | Fan Motor Speed | {364} | {364-0} | {364-1} | {364-2} | {364-3} | {364-4} | {364-5} | {364-6} | {364-7}
| 43 | {365: Nozzle (80/100/120/140)} | {341-0} {383-0} {342-0} {343-0} {344-0} {345-0} {346-0} {347-0} {348-0} {349-0} {350-0} {351-0} {352-0} {353-0} {354-0} {355-0} {356-0} {357-0} {358-0} {359-0} {360-0} {361-0} {362-0} {363-0} {364-0}: {365-0}
Outdoor Side
| 44 | Entering DB | ℃ | {366-0} | {366-1} | {366-2} | {366-3} | {366-4} | {366-5} | {366-6} | {366-7}
| 45 | Entering WB | ℃ | {367-0} | {367-1} | {367-2} | {367-3} | {367-4} | {367-5} | {367-6} | {367-7}
| 46 | Entering RH | % | {368-0} | {368-1} | {368-2} | {368-3} | {368-4} | {368-5} | {368-6} | {368-7}
| 47 | Entering DP | ℃ | {369-0} | {369-1} | {369-2} | {369-3} | {369-4} | {369-5} | {369-6} | {369-7}
| 48 | Fan Motor Speed | RPM | {370-0} | {370-1} | {370-2} | {370-3} | {370-4} | {370-5} | {370-6} | {370-7}
| 49 | {371name} | {371} | {371-0} | {371-1} | {371-2} | {371-3} | {371-4} | {371-5} | {371-6} | {371-7}
| 50 | {372name} | {372} | {372-0} | {372-1} | {372-2} | {372-3} | {372-4} | {372-5} | {372-6} | {372-7}
| 51 | Sat. Dis. Temp. (1) | ℃ | {373-0} | {373-1} | {373-2} | {373-3} | {373-4} | {373-5} | {373-6} | {373-7}
| 52 | Sat. Suc. Temp. (1) | ℃ | {374-0} | {374-1} | {374-2} | {374-3} | {374-4} | {374-5} | {374-6} | {374-7}
| 53 | Sub-Cooling (1) | ℃ | {375-0} | {375-1} | {375-2} | {375-3} | {375-4} | {375-5} | {375-6} | {375-7}
| 54 | Superheat (1) | ℃ | {376-0} | {376-1} | {376-2} | {376-3} | {376-4} | {376-5} | {376-6} | {376-7}
| 55 | {377name} | {377} | {377-0} | {377-1} | {377-2} | {377-3} | {377-4} | {377-5} | {377-6} | {377-7}
| 56 | {378name} | {378} | {378-0} | {378-1} | {378-2} | {378-3} | {378-4} | {378-5} | {378-6} | {378-7}
| 57 | Sat. Dis. Temp. (2) | ℃ | {379-0} | {379-1} | {379-2} | {379-3} | {379-4} | {379-5} | {379-6} | {379-7}
| 58 | Sat. Suc. Temp. (2) | ℃ | {380-0} | {380-1} | {380-2} | {380-3} | {380-4} | {380-5} | {380-6} | {380-7}
| 59 | Sub-Cooling (2) | ℃ | {381-0} | {381-1} | {381-2} | {381-3} | {381-4} | {381-5} | {381-6} | {381-7}
| 60 | Superheat (2) | ℃ | {382-0} | {382-1} | {382-2} | {382-3} | {382-4} | {382-5} | {382-6} | {382-7}
| TEQP-26-07-2 |  |  | {366-1} {367-1} {368-1} {369-1} {370-1} {371-1} {372-1} {373-1} {374-1} {375-1} {376-1} {377-1} {378-1} {379-1} {380-1} {381-1} {382-1}: 오텍캐리어 기술연구소; {366-4} {367-4} {368-4} {369-4} {370-4} {371-4} {372-4} {373-4} {374-4} {375-4} {376-4} {377-4} {378-4} {379-4} {380-4} {381-4} {382-4}: A4(210mm*297mm)
{end}

## Test Data (2)
{end}
TR-7 PSYCHROMETRIC CALORIMETER RAW DATA SHEET
Test Date
| Application No. |  |  | {300} |  |  | Page |  | {301:2/2}
| Test Date |  |  | {302} |  |  | Test Mode |  | {303}
| Measured Date |  |  | {304} |  |  | File Name |  | {305}
| Operator |  |  | {306} |  |  | Technical Manager |  | {307}
Unit Specifications
| Unit Model Name |  |  | {308} |  |  | Test Condition Name |  | {309}
| ID / OD Model |  |  | {310} |  |  | Rated Capacity |  | {311}
| Compressor Model Name |  |  | {312} |  |  | Rated Power Input |  | {313}
| Compressor Control Type |  |  | {314} |  |  | Power Source |  | {315}
| Expansion Device Type |  |  | {318} |  |  | Refrigerant / Amount |  | {319}
| Unit Operating Specification |  |  | {316}
| Indoor Side No.2 Test Condition | [5 empty] | Outdoor Side Test Condition
| DB & WB Temperature |  |  | {320} |  |  | DB & WB Temperature |  | {321}
| Test Record |  |  | {322} |  |  | Test Record |  | {323}
Operator Checks
{3memo}
|  | Measuring Data |  | {3c-0:Average} | {3c-1:5 min} | {3c-2:10 min} | {3c-3:15 min} | {3c-4:20 min} | {3c-5:25 min} | {3c-6:30 min} | {3c-7:35 min}
| 1 | Total Capacity | {324} | {324-0} | {324-1} | {324-2} | {324-3} | {324-4} | {324-5} | {324-6} | {324-7}
| 2 | Power Input | {325} | {325-0} | {325-1} | {325-2} | {325-3} | {325-4} | {325-5} | {325-6} | {325-7}
| 3 | EER/COP | {326} | {326-0} | {326-1} | {326-2} | {326-3} | {326-4} | {326-5} | {326-6} | {326-7}
| 4 | Capacity Ratio | {327} | {327-0} | {327-1} | {327-2} | {327-3} | {327-4} | {327-5} | {327-6} | {327-7}
| 5 | Power Input Ratio | {328} | {328-0} | {328-1} | {328-2} | {328-3} | {328-4} | {328-5} | {328-6} | {328-7}
| 6 | EER/COP Ratio | {329} | {329-0} | {329-1} | {329-2} | {329-3} | {329-4} | {329-5} | {329-6} | {329-7}
| 7 | Current Ratio | {330} | {330-0} | {330-1} | {330-2} | {330-3} | {330-4} | {330-5} | {330-6} | {330-7}
| 8 | Voltage | {331} | {331-0} | {331-1} | {331-2} | {331-3} | {331-4} | {331-5} | {331-6} | {331-7}
| 9 | {332-n: Voltage (R-N)} | {332} | {332-0} | {332-1} | {332-2} | {332-3} | {332-4} | {332-5} | {332-6} | {332-7}
| 10 | {333-n: Voltage (S-N)} | {333} | {333-0} | {333-1} | {333-2} | {333-3} | {333-4} | {333-5} | {333-6} | {333-7}
| 11 | {334-n: Voltage (T-N)} | {334} | {334-0} | {334-1} | {334-2} | {334-3} | {334-4} | {334-5} | {334-6} | {334-7}
| 12 | Current | {335} | {335-0} | {335-1} | {335-2} | {335-3} | {335-4} | {335-5} | {335-6} | {335-7}
| 13 | Current (R) | {336} | {336-0} | {336-1} | {336-2} | {336-3} | {336-4} | {336-5} | {336-6} | {336-7}
| 14 | Current (S) | {337} | {337-0} | {337-1} | {337-2} | {337-3} | {337-4} | {337-5} | {337-6} | {337-7}
| 15 | Current (T) | {338} | {338-0} | {338-1} | {338-2} | {338-3} | {338-4} | {338-5} | {338-6} | {338-7}
| 16 | Frequency | {339} | {339-0} | {339-1} | {339-2} | {339-3} | {339-4} | {339-5} | {339-6} | {339-7}
| 17 | Power Factor | {340} | {340-0} | {340-1} | {340-2} | {340-3} | {340-4} | {340-5} | {340-6} | {340-7}
Indoor Side No.2
| 18 | Capacity | {341} | {341-0} | {341-1} | {341-2} | {341-3} | {341-4} | {341-5} | {341-6} | {341-7}
| 19 | Capacity Ratio | {383} | {383-0} | {383-1} | {383-2} | {383-3} | {383-4} | {383-5} | {383-6} | {383-7}
| 20 | Sensible Heat | {342} | {342-0} | {342-1} | {342-2} | {342-3} | {342-4} | {342-5} | {342-6} | {342-7}
| 21 | Latent Heat | {343} | {343-0} | {343-1} | {343-2} | {343-3} | {343-4} | {343-5} | {343-6} | {343-7}
| 22 | Sensible Heat Ratio | {344} | {344-0} | {344-1} | {344-2} | {344-3} | {344-4} | {344-5} | {344-6} | {344-7}
| 23 | Heat Leakage | {345} | {345-0} | {345-1} | {345-2} | {345-3} | {345-4} | {345-5} | {345-6} | {345-7}
| 24 | Drain Weight | {346} | {346-0} | {346-1} | {346-2} | {346-3} | {346-4} | {346-5} | {346-6} | {346-7}
| 25 | Entering DB | {347} | {347-0} | {347-1} | {347-2} | {347-3} | {347-4} | {347-5} | {347-6} | {347-7}
| 26 | Entering WB | {348} | {348-0} | {348-1} | {348-2} | {348-3} | {348-4} | {348-5} | {348-6} | {348-7}
| 27 | Entering RH | {349} | {349-0} | {349-1} | {349-2} | {349-3} | {349-4} | {349-5} | {349-6} | {349-7}
| 28 | Leaving DB | {350} | {350-0} | {350-1} | {350-2} | {350-3} | {350-4} | {350-5} | {350-6} | {350-7}
| 29 | Leaving WB | {351} | {351-0} | {351-1} | {351-2} | {351-3} | {351-4} | {351-5} | {351-6} | {351-7}
| 30 | Leaving RH | {352} | {352-0} | {352-1} | {352-2} | {352-3} | {352-4} | {352-5} | {352-6} | {352-7}
| 31 | Enthalpy [Ent] | {353} | {353-0} | {353-1} | {353-2} | {353-3} | {353-4} | {353-5} | {353-6} | {353-7}
| 32 | Enthalpy [Lev] | {354} | {354-0} | {354-1} | {354-2} | {354-3} | {354-4} | {354-5} | {354-6} | {354-7}
| 33 | Humidity Ratio [Ent] | {355} | {355-0} | {355-1} | {355-2} | {355-3} | {355-4} | {355-5} | {355-6} | {355-7}
| 34 | Humidity Ratio [Lev] | {356} | {356-0} | {356-1} | {356-2} | {356-3} | {356-4} | {356-5} | {356-6} | {356-7}
| 35 | Specific Heat [Lev] | {357} | {357-0} | {357-1} | {357-2} | {357-3} | {357-4} | {357-5} | {357-6} | {357-7}
| 36 | Specific Volume [Lev] | {358} | {358-0} | {358-1} | {358-2} | {358-3} | {358-4} | {358-5} | {358-6} | {358-7}
| 37 | Air Flow [Lev] | {359} | {359-0} | {359-1} | {359-2} | {359-3} | {359-4} | {359-5} | {359-6} | {359-7}
| 38 | Static Pressure | {360} | {360-0} | {360-1} | {360-2} | {360-3} | {360-4} | {360-5} | {360-6} | {360-7}
| 39 | Nozzle Diff. Pressure | {361} | {361-0} | {361-1} | {361-2} | {361-3} | {361-4} | {361-5} | {361-6} | {361-7}
| 40 | Barometric Pressure | {362} | {362-0} | {362-1} | {362-2} | {362-3} | {362-4} | {362-5} | {362-6} | {362-7}
| 41 | Nozzle Inlet Temp. | {363} | {363-0} | {363-1} | {363-2} | {363-3} | {363-4} | {363-5} | {363-6} | {363-7}
| 42 | Fan Motor Speed | {364} | {364-0} | {364-1} | {364-2} | {364-3} | {364-4} | {364-5} | {364-6} | {364-7}
| 43 | {365: Nozzle (80/100/120/140)} | {341-0} {383-0} {342-0} {343-0} {344-0} {345-0} {346-0} {347-0} {348-0} {349-0} {350-0} {351-0} {352-0} {353-0} {354-0} {355-0} {356-0} {357-0} {358-0} {359-0} {360-0} {361-0} {362-0} {363-0} {364-0}: {365-0}
Outdoor Side
| 44 | Entering DB | ℃ | {366-0} | {366-1} | {366-2} | {366-3} | {366-4} | {366-5} | {366-6} | {366-7}
| 45 | Entering WB | ℃ | {367-0} | {367-1} | {367-2} | {367-3} | {367-4} | {367-5} | {367-6} | {367-7}
| 46 | Entering RH | % | {368-0} | {368-1} | {368-2} | {368-3} | {368-4} | {368-5} | {368-6} | {368-7}
| 47 | Entering DP | ℃ | {369-0} | {369-1} | {369-2} | {369-3} | {369-4} | {369-5} | {369-6} | {369-7}
| 48 | Fan Motor Speed | RPM | {370-0} | {370-1} | {370-2} | {370-3} | {370-4} | {370-5} | {370-6} | {370-7}
| 49 | {371name} | {371} | {371-0} | {371-1} | {371-2} | {371-3} | {371-4} | {371-5} | {371-6} | {371-7}
| 50 | {372name} | {372} | {372-0} | {372-1} | {372-2} | {372-3} | {372-4} | {372-5} | {372-6} | {372-7}
| 51 | Sat. Dis. Temp. (1) | ℃ | {373-0} | {373-1} | {373-2} | {373-3} | {373-4} | {373-5} | {373-6} | {373-7}
| 52 | Sat. Suc. Temp. (1) | ℃ | {374-0} | {374-1} | {374-2} | {374-3} | {374-4} | {374-5} | {374-6} | {374-7}
| 53 | Sub-Cooling (1) | ℃ | {375-0} | {375-1} | {375-2} | {375-3} | {375-4} | {375-5} | {375-6} | {375-7}
| 54 | Superheat (1) | ℃ | {376-0} | {376-1} | {376-2} | {376-3} | {376-4} | {376-5} | {376-6} | {376-7}
| 55 | {377name} | {377} | {377-0} | {377-1} | {377-2} | {377-3} | {377-4} | {377-5} | {377-6} | {377-7}
| 56 | {378name} | {378} | {378-0} | {378-1} | {378-2} | {378-3} | {378-4} | {378-5} | {378-6} | {378-7}
| 57 | Sat. Dis. Temp. (2) | ℃ | {379-0} | {379-1} | {379-2} | {379-3} | {379-4} | {379-5} | {379-6} | {379-7}
| 58 | Sat. Suc. Temp. (2) | ℃ | {380-0} | {380-1} | {380-2} | {380-3} | {380-4} | {380-5} | {380-6} | {380-7}
| 59 | Sub-Cooling (2) | ℃ | {381-0} | {381-1} | {381-2} | {381-3} | {381-4} | {381-5} | {381-6} | {381-7}
| 60 | Superheat (2) | ℃ | {382-0} | {382-1} | {382-2} | {382-3} | {382-4} | {382-5} | {382-6} | {382-7}
| TEQP-26-07-2 |  |  | {366-1} {367-1} {368-1} {369-1} {370-1} {371-1} {372-1} {373-1} {374-1} {375-1} {376-1} {377-1} {378-1} {379-1} {380-1} {381-1} {382-1}: 오텍캐리어 기술연구소; {366-4} {367-4} {368-4} {369-4} {370-4} {371-4} {372-4} {373-4} {374-4} {375-4} {376-4} {377-4} {378-4} {379-4} {380-4} {381-4} {382-4}: A4(210mm*297mm)
{end}

## Test Data (3)
{end}
TR-7 PSYCHROMETRIC CALORIMETER RAW DATA SHEET
Test Date
| Application No. |  |  | {300} |  |  | Page |  | {301:2/2}
| Test Date |  |  | {302} |  |  | Test Mode |  | {303}
| Measured Date |  |  | {304} |  |  | File Name |  | {305}
| Operator |  |  | {306} |  |  | Technical Manager |  | {307}
Unit Specifications
| Unit Model Name |  |  | {308} |  |  | Test Condition Name |  | {309}
| ID / OD Model |  |  | {310} |  |  | Rated Capacity |  | {311}
| Compressor Model Name |  |  | {312} |  |  | Rated Power Input |  | {313}
| Compressor Control Type |  |  | {314} |  |  | Power Source |  | {315}
| Expansion Device Type |  |  | {318} |  |  | Refrigerant / Amount |  | {319}
| Unit Operating Specification |  |  | {316}
| Water Side Test Condition | [5 empty] | Indoor Side No.1 Test Condition
| Inlet Temp. / Flow Rate |  |  | {484} |  |  | DB & WB Temperature |  | {320}
| Test Record |  |  | {485} |  |  | Test Record |  | {322}
| Operator Checks | [5 empty] | Outdoor Side Test Condition
| {3memo} | [5 empty] | DB & WB Temperature |  | {321}
[7 empty] | Test Record |  | {323}
|  | Measuring Data |  | {3c-0:Average} | {3c-1:5 min} | {3c-2:10 min} | {3c-3:15 min} | {3c-4:20 min} | {3c-5:25 min} | {3c-6:30 min} | {3c-7:35 min}
| 1 | Total Capacity | {424} | {424-0} | {424-1} | {424-2} | {424-3} | {424-4} | {424-5} | {424-6} | {424-7}
| 2 | Power Input | {425} | {425-0} | {425-1} | {425-2} | {425-3} | {425-4} | {425-5} | {425-6} | {425-7}
| 3 | EER/COP | {426} | {426-0} | {426-1} | {426-2} | {426-3} | {426-4} | {426-5} | {426-6} | {426-7}
| 4 | Capacity Ratio | {427} | {427-0} | {427-1} | {427-2} | {427-3} | {427-4} | {427-5} | {427-6} | {427-7}
| 5 | Power Input Ratio | {428} | {428-0} | {428-1} | {428-2} | {428-3} | {428-4} | {428-5} | {428-6} | {428-7}
| 6 | EER/COP Ratio | {429} | {429-0} | {429-1} | {429-2} | {429-3} | {429-4} | {429-5} | {429-6} | {429-7}
| 7 | Current Ratio | {430} | {430-0} | {430-1} | {430-2} | {430-3} | {430-4} | {430-5} | {430-6} | {430-7}
| 8 | Voltage | {431} | {431-0} | {431-1} | {431-2} | {431-3} | {431-4} | {431-5} | {431-6} | {431-7}
| 9 | {432-n: Voltage (R-N)} | {432} | {432-0} | {432-1} | {432-2} | {432-3} | {432-4} | {432-5} | {432-6} | {432-7}
| 10 | {433-n: Voltage (S-N)} | {433} | {433-0} | {433-1} | {433-2} | {433-3} | {433-4} | {433-5} | {433-6} | {433-7}
| 11 | {434-n: Voltage (T-N)} | {434} | {434-0} | {434-1} | {434-2} | {434-3} | {434-4} | {434-5} | {434-6} | {434-7}
| 12 | Current | {435} | {435-0} | {435-1} | {435-2} | {435-3} | {435-4} | {435-5} | {435-6} | {435-7}
| 13 | Current (R) | {436} | {436-0} | {436-1} | {436-2} | {436-3} | {436-4} | {436-5} | {436-6} | {436-7}
| 14 | Current (S) | {437} | {437-0} | {437-1} | {437-2} | {437-3} | {437-4} | {437-5} | {437-6} | {437-7}
| 15 | Current (T) | {438} | {438-0} | {438-1} | {438-2} | {438-3} | {438-4} | {438-5} | {438-6} | {438-7}
| 16 | Frequency | {439} | {439-0} | {439-1} | {439-2} | {439-3} | {439-4} | {439-5} | {439-6} | {439-7}
| 17 | Power Factor | {440} | {440-0} | {440-1} | {440-2} | {440-3} | {440-4} | {440-5} | {440-6} | {440-7}
Water Side
| 18 | Capacity | {486} | {486-0} | {486-1} | {486-2} | {486-3} | {486-4} | {486-5} | {486-6} | {486-7}
| 19 | Capacity Ratio | {487} | {487-0} | {487-1} | {487-2} | {487-3} | {487-4} | {487-5} | {487-6} | {487-7}
| 20 | Water Flow Rate | {488} | {488-0} | {488-1} | {488-2} | {488-3} | {488-4} | {488-5} | {488-6} | {488-7}
| 21 | Water Inlet Temp. | {489} | {489-0} | {489-1} | {489-2} | {489-3} | {489-4} | {489-5} | {489-6} | {489-7}
| 22 | Water Outlet Temp. | {490} | {490-0} | {490-1} | {490-2} | {490-3} | {490-4} | {490-5} | {490-6} | {490-7}
| 23 | Water Diff. Temp. | {491} | {491-0} | {491-1} | {491-2} | {491-3} | {491-4} | {491-5} | {491-6} | {491-7}
| 24 | Water Tank Temp. | {492} | {492-0} | {492-1} | {492-2} | {492-3} | {492-4} | {492-5} | {492-6} | {492-7}
| 25 | Water Density | {493} | {493-0} | {493-1} | {493-2} | {493-3} | {493-4} | {493-5} | {493-6} | {493-7}
| 26 | Water Specific Heat | {494} | {494-0} | {494-1} | {494-2} | {494-3} | {494-4} | {494-5} | {494-6} | {494-7}
| 27 | Pressure Drop | {495} | {495-0} | {495-1} | {495-2} | {495-3} | {495-4} | {495-5} | {495-6} | {495-7}
Indoor Side No.1
| 28 | Entering DB | {447} | {447-0} | {447-1} | {447-2} | {447-3} | {447-4} | {447-5} | {447-6} | {447-7}
| 29 | Entering WB | {448} | {448-0} | {448-1} | {448-2} | {448-3} | {448-4} | {448-5} | {448-6} | {448-7}
| 30 | Entering RH | {449} | {449-0} | {449-1} | {449-2} | {449-3} | {449-4} | {449-5} | {449-6} | {449-7}
Outdoor Side
| 31 | Entering DB | ℃ | {466-0} | {466-1} | {466-2} | {466-3} | {466-4} | {466-5} | {466-6} | {466-7}
| 32 | Entering WB | ℃ | {467-0} | {467-1} | {467-2} | {467-3} | {467-4} | {467-5} | {467-6} | {467-7}
| 33 | Entering RH | % | {468-0} | {468-1} | {468-2} | {468-3} | {468-4} | {468-5} | {468-6} | {468-7}
| 34 | Entering DP | ℃ | {469-0} | {469-1} | {469-2} | {469-3} | {469-4} | {469-5} | {469-6} | {469-7}
| 35 | Fan Motor Speed | RPM | {470-0} | {470-1} | {470-2} | {470-3} | {470-4} | {470-5} | {470-6} | {470-7}
| 36 | {471name} | {471} | {471-0} | {471-1} | {471-2} | {471-3} | {471-4} | {471-5} | {471-6} | {471-7}
| 37 | {472name} | {472} | {472-0} | {472-1} | {472-2} | {472-3} | {472-4} | {472-5} | {472-6} | {472-7}
| 38 | Sat. Dis. Temp. (1) | ℃ | {473-0} | {473-1} | {473-2} | {473-3} | {473-4} | {473-5} | {473-6} | {473-7}
| 39 | Sat. Suc. Temp. (1) | ℃ | {474-0} | {474-1} | {474-2} | {474-3} | {474-4} | {474-5} | {474-6} | {474-7}
| 40 | Sub-Cooling (1) | ℃ | {475-0} | {475-1} | {475-2} | {475-3} | {475-4} | {475-5} | {475-6} | {475-7}
| 41 | Superheat (1) | ℃ | {476-0} | {476-1} | {476-2} | {476-3} | {476-4} | {476-5} | {476-6} | {476-7}
| 42 | {477name} | {477} | {477-0} | {477-1} | {477-2} | {477-3} | {477-4} | {477-5} | {477-6} | {477-7}
| 43 | {478name} | {478} | {478-0} | {478-1} | {478-2} | {478-3} | {478-4} | {478-5} | {478-6} | {478-7}
| 44 | Sat. Dis. Temp. (2) | ℃ | {479-0} | {479-1} | {479-2} | {479-3} | {479-4} | {479-5} | {479-6} | {479-7}
| 45 | Sat. Suc. Temp. (2) | ℃ | {480-0} | {480-1} | {480-2} | {480-3} | {480-4} | {480-5} | {480-6} | {480-7}
| 46 | Sub-Cooling (2) | ℃ | {481-0} | {481-1} | {481-2} | {481-3} | {481-4} | {481-5} | {481-6} | {481-7}
| 47 | Superheat (2) | ℃ | {482-0} | {482-1} | {482-2} | {482-3} | {482-4} | {482-5} | {482-6} | {482-7}
| TEQP-26-07-2 |  |  | {466-1} {467-1} {468-1} {469-1} {470-1} {471-1} {472-1} {473-1} {474-1} {475-1} {476-1} {477-1} {478-1} {479-1} {480-1} {481-1} {482-1}: 오텍캐리어 기술연구소; {466-4} {467-4} {468-4} {469-4} {470-4} {471-4} {472-4} {473-4} {474-4} {475-4} {476-4} {477-4} {478-4} {479-4} {480-4} {481-4} {482-4}: A4(210mm*297mm)
{end}

## Test Data (4)
{end}
TR-7 PSYCHROMETRIC CALORIMETER RAW DATA SHEET
Test Date
| Application No. |  |  | {300} |  |  | Page |  | {301:2/2}
| Test Date |  |  | {302} |  |  | Test Mode |  | {303}
| Measured Date |  |  | {304} |  |  | File Name |  | {305}
| Operator |  |  | {306} |  |  | Technical Manager |  | {307}
Unit Specifications
| Unit Model Name |  |  | {308} |  |  | Test Condition Name |  | {309}
| ID / OD Model |  |  | {310} |  |  | Rated Capacity |  | {311}
| Compressor Model Name |  |  | {312} |  |  | Rated Power Input |  | {313}
| Compressor Control Type |  |  | {314} |  |  | Power Source |  | {315}
| Expansion Device Type |  |  | {318} |  |  | Refrigerant / Amount |  | {319}
| Unit Operating Specification |  |  | {316}
| Water Side Test Condition | [5 empty] | Indoor Side No.2 Test Condition
| Inlet Temp. / Flow Rate |  |  | {484} |  |  | DB & WB Temperature |  | {320}
| Test Record |  |  | {485} |  |  | Test Record |  | {322}
| Operator Checks | [5 empty] | Outdoor Side Test Condition
| {3memo} | [5 empty] | DB & WB Temperature |  | {321}
[7 empty] | Test Record |  | {323}
|  | Measuring Data |  | {3c-0:Average} | {3c-1:5 min} | {3c-2:10 min} | {3c-3:15 min} | {3c-4:20 min} | {3c-5:25 min} | {3c-6:30 min} | {3c-7:35 min}
| 1 | Total Capacity | {424} | {424-0} | {424-1} | {424-2} | {424-3} | {424-4} | {424-5} | {424-6} | {424-7}
| 2 | Power Input | {425} | {425-0} | {425-1} | {425-2} | {425-3} | {425-4} | {425-5} | {425-6} | {425-7}
| 3 | EER/COP | {426} | {426-0} | {426-1} | {426-2} | {426-3} | {426-4} | {426-5} | {426-6} | {426-7}
| 4 | Capacity Ratio | {427} | {427-0} | {427-1} | {427-2} | {427-3} | {427-4} | {427-5} | {427-6} | {427-7}
| 5 | Power Input Ratio | {428} | {428-0} | {428-1} | {428-2} | {428-3} | {428-4} | {428-5} | {428-6} | {428-7}
| 6 | EER/COP Ratio | {429} | {429-0} | {429-1} | {429-2} | {429-3} | {429-4} | {429-5} | {429-6} | {429-7}
| 7 | Current Ratio | {430} | {430-0} | {430-1} | {430-2} | {430-3} | {430-4} | {430-5} | {430-6} | {430-7}
| 8 | Voltage | {431} | {431-0} | {431-1} | {431-2} | {431-3} | {431-4} | {431-5} | {431-6} | {431-7}
| 9 | {432-n: Voltage (R-N)} | {432} | {432-0} | {432-1} | {432-2} | {432-3} | {432-4} | {432-5} | {432-6} | {432-7}
| 10 | {433-n: Voltage (S-N)} | {433} | {433-0} | {433-1} | {433-2} | {433-3} | {433-4} | {433-5} | {433-6} | {433-7}
| 11 | {434-n: Voltage (T-N)} | {434} | {434-0} | {434-1} | {434-2} | {434-3} | {434-4} | {434-5} | {434-6} | {434-7}
| 12 | Current | {435} | {435-0} | {435-1} | {435-2} | {435-3} | {435-4} | {435-5} | {435-6} | {435-7}
| 13 | Current (R) | {436} | {436-0} | {436-1} | {436-2} | {436-3} | {436-4} | {436-5} | {436-6} | {436-7}
| 14 | Current (S) | {437} | {437-0} | {437-1} | {437-2} | {437-3} | {437-4} | {437-5} | {437-6} | {437-7}
| 15 | Current (T) | {438} | {438-0} | {438-1} | {438-2} | {438-3} | {438-4} | {438-5} | {438-6} | {438-7}
| 16 | Frequency | {439} | {439-0} | {439-1} | {439-2} | {439-3} | {439-4} | {439-5} | {439-6} | {439-7}
| 17 | Power Factor | {440} | {440-0} | {440-1} | {440-2} | {440-3} | {440-4} | {440-5} | {440-6} | {440-7}
Water Side
| 18 | Capacity | {486} | {486-0} | {486-1} | {486-2} | {486-3} | {486-4} | {486-5} | {486-6} | {486-7}
| 19 | Capacity Ratio | {487} | {487-0} | {487-1} | {487-2} | {487-3} | {487-4} | {487-5} | {487-6} | {487-7}
| 20 | Water Flow Rate | {488} | {488-0} | {488-1} | {488-2} | {488-3} | {488-4} | {488-5} | {488-6} | {488-7}
| 21 | Water Inlet Temp. | {489} | {489-0} | {489-1} | {489-2} | {489-3} | {489-4} | {489-5} | {489-6} | {489-7}
| 22 | Water Outlet Temp. | {490} | {490-0} | {490-1} | {490-2} | {490-3} | {490-4} | {490-5} | {490-6} | {490-7}
| 23 | Water Diff. Temp. | {491} | {491-0} | {491-1} | {491-2} | {491-3} | {491-4} | {491-5} | {491-6} | {491-7}
| 24 | Water Tank Temp. | {492} | {492-0} | {492-1} | {492-2} | {492-3} | {492-4} | {492-5} | {492-6} | {492-7}
| 25 | Water Density | {493} | {493-0} | {493-1} | {493-2} | {493-3} | {493-4} | {493-5} | {493-6} | {493-7}
| 26 | Water Specific Heat | {494} | {494-0} | {494-1} | {494-2} | {494-3} | {494-4} | {494-5} | {494-6} | {494-7}
| 27 | Pressure Drop | {495} | {495-0} | {495-1} | {495-2} | {495-3} | {495-4} | {495-5} | {495-6} | {495-7}
Indoor Side No.2
| 28 | Entering DB | {447} | {447-0} | {447-1} | {447-2} | {447-3} | {447-4} | {447-5} | {447-6} | {447-7}
| 29 | Entering WB | {448} | {448-0} | {448-1} | {448-2} | {448-3} | {448-4} | {448-5} | {448-6} | {448-7}
| 30 | Entering RH | {449} | {449-0} | {449-1} | {449-2} | {449-3} | {449-4} | {449-5} | {449-6} | {449-7}
Outdoor Side
| 31 | Entering DB | ℃ | {466-0} | {466-1} | {466-2} | {466-3} | {466-4} | {466-5} | {466-6} | {466-7}
| 32 | Entering WB | ℃ | {467-0} | {467-1} | {467-2} | {467-3} | {467-4} | {467-5} | {467-6} | {467-7}
| 33 | Entering RH | % | {468-0} | {468-1} | {468-2} | {468-3} | {468-4} | {468-5} | {468-6} | {468-7}
| 34 | Entering DP | ℃ | {469-0} | {469-1} | {469-2} | {469-3} | {469-4} | {469-5} | {469-6} | {469-7}
| 35 | Fan Motor Speed | RPM | {470-0} | {470-1} | {470-2} | {470-3} | {470-4} | {470-5} | {470-6} | {470-7}
| 36 | {471name} | {471} | {471-0} | {471-1} | {471-2} | {471-3} | {471-4} | {471-5} | {471-6} | {471-7}
| 37 | {472name} | {472} | {472-0} | {472-1} | {472-2} | {472-3} | {472-4} | {472-5} | {472-6} | {472-7}
| 38 | Sat. Dis. Temp. (1) | ℃ | {473-0} | {473-1} | {473-2} | {473-3} | {473-4} | {473-5} | {473-6} | {473-7}
| 39 | Sat. Suc. Temp. (1) | ℃ | {474-0} | {474-1} | {474-2} | {474-3} | {474-4} | {474-5} | {474-6} | {474-7}
| 40 | Sub-Cooling (1) | ℃ | {475-0} | {475-1} | {475-2} | {475-3} | {475-4} | {475-5} | {475-6} | {475-7}
| 41 | Superheat (1) | ℃ | {476-0} | {476-1} | {476-2} | {476-3} | {476-4} | {476-5} | {476-6} | {476-7}
| 42 | {477name} | {477} | {477-0} | {477-1} | {477-2} | {477-3} | {477-4} | {477-5} | {477-6} | {477-7}
| 43 | {478name} | {478} | {478-0} | {478-1} | {478-2} | {478-3} | {478-4} | {478-5} | {478-6} | {478-7}
| 44 | Sat. Dis. Temp. (2) | ℃ | {479-0} | {479-1} | {479-2} | {479-3} | {479-4} | {479-5} | {479-6} | {479-7}
| 45 | Sat. Suc. Temp. (2) | ℃ | {480-0} | {480-1} | {480-2} | {480-3} | {480-4} | {480-5} | {480-6} | {480-7}
| 46 | Sub-Cooling (2) | ℃ | {481-0} | {481-1} | {481-2} | {481-3} | {481-4} | {481-5} | {481-6} | {481-7}
| 47 | Superheat (2) | ℃ | {482-0} | {482-1} | {482-2} | {482-3} | {482-4} | {482-5} | {482-6} | {482-7}
| TEQP-26-07-2 |  |  | {466-1} {467-1} {468-1} {469-1} {470-1} {471-1} {472-1} {473-1} {474-1} {475-1} {476-1} {477-1} {478-1} {479-1} {480-1} {481-1} {482-1}: 오텍캐리어 기술연구소; {466-4} {467-4} {468-4} {469-4} {470-4} {471-4} {472-4} {473-4} {474-4} {475-4} {476-4} {477-4} {478-4} {479-4} {480-4} {481-4} {482-4}: A4(210mm*297mm)
{end}

## TC1 (1)
{end}
TR-7 PSYCHROMETRIC CALORIMETER RAW DATA SHEET
Test Date
| Application No. |  |  | {300} |  |  | Page |  | {301:2/2}
| Test Date |  |  | {302} |  |  | Test Mode |  | {303}
| Measured Date |  |  | {304} |  |  | File Name |  | {305}
| Operator |  |  | {306} |  |  | Technical Manager |  | {307}
Unit Specifications
| Unit Model Name |  |  | {308} |  |  | Test Condition Name |  | {309}
| ID / OD Model |  |  | {310} |  |  | Rated Capacity |  | {311}
| Compressor Model Name |  |  | {312} |  |  | Rated Power Input |  | {313}
| Compressor Control Type |  |  | {314} |  |  | Power Source |  | {315}
| Expansion Device Type |  |  | {318} |  |  | Refrigerant / Amount |  | {319}
| Unit Operating Specification |  |  | {316}
| Indoor Side No.1 Test Condition | [5 empty] | Outdoor Side Test Condition
| DB & WB Temperature |  |  | {320} |  |  | DB & WB Temperature |  | {321}
| Test Record |  |  | {322} |  |  | Test Record |  | {323}
Operator Checks
{3memo}
|  | Thermocouple #1 |  | {3c-0:Average} | {3c-1:5 min} | {3c-2:10 min} | {3c-3:15 min} | {3c-4:20 min} | {3c-5:25 min} | {3c-6:30 min} | {3c-7:35 min}
Outdoor
| [01] : | {525} | ℃ | {525-0} | {525-1} | {525-2} | {525-3} | {525-4} | {525-5} | {525-6} | {525-7}
| [02] : | {526} | ℃ | {526-0} | {526-1} | {526-2} | {526-3} | {526-4} | {526-5} | {526-6} | {526-7}
| [03] : | {527} | ℃ | {527-0} | {527-1} | {527-2} | {527-3} | {527-4} | {527-5} | {527-6} | {527-7}
| [04] : | {528} | ℃ | {528-0} | {528-1} | {528-2} | {528-3} | {528-4} | {528-5} | {528-6} | {528-7}
| [05] : | {529} | ℃ | {529-0} | {529-1} | {529-2} | {529-3} | {529-4} | {529-5} | {529-6} | {529-7}
| [06] : | {530} | ℃ | {530-0} | {530-1} | {530-2} | {530-3} | {530-4} | {530-5} | {530-6} | {530-7}
| [07] : | {531} | ℃ | {531-0} | {531-1} | {531-2} | {531-3} | {531-4} | {531-5} | {531-6} | {531-7}
| [08] : | {532} | ℃ | {532-0} | {532-1} | {532-2} | {532-3} | {532-4} | {532-5} | {532-6} | {532-7}
| [09] : | {533} | ℃ | {533-0} | {533-1} | {533-2} | {533-3} | {533-4} | {533-5} | {533-6} | {533-7}
| [10] : | {534} | ℃ | {534-0} | {534-1} | {534-2} | {534-3} | {534-4} | {534-5} | {534-6} | {534-7}
| [11] : | {535} | ℃ | {535-0} | {535-1} | {535-2} | {535-3} | {535-4} | {535-5} | {535-6} | {535-7}
| [12] : | {536} | ℃ | {536-0} | {536-1} | {536-2} | {536-3} | {536-4} | {536-5} | {536-6} | {536-7}
| [13] : | {537} | ℃ | {537-0} | {537-1} | {537-2} | {537-3} | {537-4} | {537-5} | {537-6} | {537-7}
| [14] : | {538} | ℃ | {538-0} | {538-1} | {538-2} | {538-3} | {538-4} | {538-5} | {538-6} | {538-7}
| [15] : | {539} | ℃ | {539-0} | {539-1} | {539-2} | {539-3} | {539-4} | {539-5} | {539-6} | {539-7}
| [16] : | {540} | ℃ | {540-0} | {540-1} | {540-2} | {540-3} | {540-4} | {540-5} | {540-6} | {540-7}
| [17] : | {541} | ℃ | {541-0} | {541-1} | {541-2} | {541-3} | {541-4} | {541-5} | {541-6} | {541-7}
| [18] : | {542} | ℃ | {542-0} | {542-1} | {542-2} | {542-3} | {542-4} | {542-5} | {542-6} | {542-7}
| [19] : | {543} | ℃ | {543-0} | {543-1} | {543-2} | {543-3} | {543-4} | {543-5} | {543-6} | {543-7}
| [20] : | {544} | ℃ | {544-0} | {544-1} | {544-2} | {544-3} | {544-4} | {544-5} | {544-6} | {544-7}
| [21] : | {545} | ℃ | {545-0} | {545-1} | {545-2} | {545-3} | {545-4} | {545-5} | {545-6} | {545-7}
| [22] : | {546} | ℃ | {546-0} | {546-1} | {546-2} | {546-3} | {546-4} | {546-5} | {546-6} | {546-7}
| [23] : | {547} | ℃ | {547-0} | {547-1} | {547-2} | {547-3} | {547-4} | {547-5} | {547-6} | {547-7}
| [24] : | {548} | ℃ | {548-0} | {548-1} | {548-2} | {548-3} | {548-4} | {548-5} | {548-6} | {548-7}
| [25] : | {549} | ℃ | {549-0} | {549-1} | {549-2} | {549-3} | {549-4} | {549-5} | {549-6} | {549-7}
| [26] : | {550} | ℃ | {550-0} | {550-1} | {550-2} | {550-3} | {550-4} | {550-5} | {550-6} | {550-7}
| [27] : | {551} | ℃ | {551-0} | {551-1} | {551-2} | {551-3} | {551-4} | {551-5} | {551-6} | {551-7}
| [28] : | {552} | ℃ | {552-0} | {552-1} | {552-2} | {552-3} | {552-4} | {552-5} | {552-6} | {552-7}
| [29] : | {553} | ℃ | {553-0} | {553-1} | {553-2} | {553-3} | {553-4} | {553-5} | {553-6} | {553-7}
| [30] : | {554} | ℃ | {554-0} | {554-1} | {554-2} | {554-3} | {554-4} | {554-5} | {554-6} | {554-7}
Indoor
| [01] : | {555} | ℃ | {555-0} | {555-1} | {555-2} | {555-3} | {555-4} | {555-5} | {555-6} | {555-7}
| [02] : | {556} | ℃ | {556-0} | {556-1} | {556-2} | {556-3} | {556-4} | {556-5} | {556-6} | {556-7}
| [03] : | {557} | ℃ | {557-0} | {557-1} | {557-2} | {557-3} | {557-4} | {557-5} | {557-6} | {557-7}
| [04] : | {558} | ℃ | {558-0} | {558-1} | {558-2} | {558-3} | {558-4} | {558-5} | {558-6} | {558-7}
| [05] : | {559} | ℃ | {559-0} | {559-1} | {559-2} | {559-3} | {559-4} | {559-5} | {559-6} | {559-7}
| [06] : | {560} | ℃ | {560-0} | {560-1} | {560-2} | {560-3} | {560-4} | {560-5} | {560-6} | {560-7}
| [07] : | {561} | ℃ | {561-0} | {561-1} | {561-2} | {561-3} | {561-4} | {561-5} | {561-6} | {561-7}
| [08] : | {562} | ℃ | {562-0} | {562-1} | {562-2} | {562-3} | {562-4} | {562-5} | {562-6} | {562-7}
| [09] : | {563} | ℃ | {563-0} | {563-1} | {563-2} | {563-3} | {563-4} | {563-5} | {563-6} | {563-7}
| [10] : | {564} | ℃ | {564-0} | {564-1} | {564-2} | {564-3} | {564-4} | {564-5} | {564-6} | {564-7}
| [11] : | {565} | ℃ | {565-0} | {565-1} | {565-2} | {565-3} | {565-4} | {565-5} | {565-6} | {565-7}
| [12] : | {566} | ℃ | {566-0} | {566-1} | {566-2} | {566-3} | {566-4} | {566-5} | {566-6} | {566-7}
| [13] : | {567} | ℃ | {567-0} | {567-1} | {567-2} | {567-3} | {567-4} | {567-5} | {567-6} | {567-7}
| [14] : | {568} | ℃ | {568-0} | {568-1} | {568-2} | {568-3} | {568-4} | {568-5} | {568-6} | {568-7}
| [15] : | {569} | ℃ | {569-0} | {569-1} | {569-2} | {569-3} | {569-4} | {569-5} | {569-6} | {569-7}
| [16] : | {570} | ℃ | {570-0} | {570-1} | {570-2} | {570-3} | {570-4} | {570-5} | {570-6} | {570-7}
| [17] : | {571} | ℃ | {571-0} | {571-1} | {571-2} | {571-3} | {571-4} | {571-5} | {571-6} | {571-7}
| [18] : | {572} | ℃ | {572-0} | {572-1} | {572-2} | {572-3} | {572-4} | {572-5} | {572-6} | {572-7}
| [19] : | {573} | ℃ | {573-0} | {573-1} | {573-2} | {573-3} | {573-4} | {573-5} | {573-6} | {573-7}
| [20] : | {574} | ℃ | {574-0} | {574-1} | {574-2} | {574-3} | {574-4} | {574-5} | {574-6} | {574-7}
| [21] : | {575} | ℃ | {575-0} | {575-1} | {575-2} | {575-3} | {575-4} | {575-5} | {575-6} | {575-7}
| [22] : | {576} | ℃ | {576-0} | {576-1} | {576-2} | {576-3} | {576-4} | {576-5} | {576-6} | {576-7}
| [23] : | {577} | ℃ | {577-0} | {577-1} | {577-2} | {577-3} | {577-4} | {577-5} | {577-6} | {577-7}
| [24] : | {578} | ℃ | {578-0} | {578-1} | {578-2} | {578-3} | {578-4} | {578-5} | {578-6} | {578-7}
| [25] : | {579} | ℃ | {579-0} | {579-1} | {579-2} | {579-3} | {579-4} | {579-5} | {579-6} | {579-7}
| [26] : | {580} | ℃ | {580-0} | {580-1} | {580-2} | {580-3} | {580-4} | {580-5} | {580-6} | {580-7}
| [27] : | {581} | ℃ | {581-0} | {581-1} | {581-2} | {581-3} | {581-4} | {581-5} | {581-6} | {581-7}
| [28] : | {582} | ℃ | {582-0} | {582-1} | {582-2} | {582-3} | {582-4} | {582-5} | {582-6} | {582-7}
| [29] : | {583} | ℃ | {583-0} | {583-1} | {583-2} | {583-3} | {583-4} | {583-5} | {583-6} | {583-7}
| [30] : | {584} | ℃ | {584-0} | {584-1} | {584-2} | {584-3} | {584-4} | {584-5} | {584-6} | {584-7}
| TEQP-26-07-2 |  |  | {555-1} {556-1} {557-1} {558-1} {559-1} {560-1} {561-1} {562-1} {563-1} {564-1} {565-1} {566-1} {567-1} {568-1} {569-1} {570-1} {571-1} {572-1} {573-1} {574-1} {575-1} {576-1} {577-1} {578-1} {579-1} {580-1} {581-1} {582-1} {583-1} {584-1}: 오텍캐리어 기술연구소; {555-4} {556-4} {557-4} {558-4} {559-4} {560-4} {561-4} {562-4} {563-4} {564-4} {565-4} {566-4} {567-4} {568-4} {569-4} {570-4} {571-4} {572-4} {573-4} {574-4} {575-4} {576-4} {577-4} {578-4} {579-4} {580-4} {581-4} {582-4} {583-4} {584-4}: A4(210mm*297mm)
{end}

## TC1 (2)
{end}
TR-7 PSYCHROMETRIC CALORIMETER RAW DATA SHEET
Test Date
| Application No. |  |  | {300} |  |  | Page |  | {301:2/2}
| Test Date |  |  | {302} |  |  | Test Mode |  | {303}
| Measured Date |  |  | {304} |  |  | File Name |  | {305}
| Operator |  |  | {306} |  |  | Technical Manager |  | {307}
Unit Specifications
| Unit Model Name |  |  | {308} |  |  | Test Condition Name |  | {309}
| ID / OD Model |  |  | {310} |  |  | Rated Capacity |  | {311}
| Compressor Model Name |  |  | {312} |  |  | Rated Power Input |  | {313}
| Compressor Control Type |  |  | {314} |  |  | Power Source |  | {315}
| Expansion Device Type |  |  | {318} |  |  | Refrigerant / Amount |  | {319}
| Unit Operating Specification |  |  | {316}
| Indoor Side No.1 Test Condition | [5 empty] | Outdoor Side Test Condition
| DB & WB Temperature |  |  | {320} |  |  | DB & WB Temperature |  | {321}
| Test Record |  |  | {322} |  |  | Test Record |  | {323}
Operator Checks
{3memo}
|  | Thermocouple #2 |  | {3c-0:Average} | {3c-1:5 min} | {3c-2:10 min} | {3c-3:15 min} | {3c-4:20 min} | {3c-5:25 min} | {3c-6:30 min} | {3c-7:35 min}
Outdoor
| [31] : | {525} | ℃ | {525-0} | {525-1} | {525-2} | {525-3} | {525-4} | {525-5} | {525-6} | {525-7}
| [32] : | {526} | ℃ | {526-0} | {526-1} | {526-2} | {526-3} | {526-4} | {526-5} | {526-6} | {526-7}
| [33] : | {527} | ℃ | {527-0} | {527-1} | {527-2} | {527-3} | {527-4} | {527-5} | {527-6} | {527-7}
| [34] : | {528} | ℃ | {528-0} | {528-1} | {528-2} | {528-3} | {528-4} | {528-5} | {528-6} | {528-7}
| [35] : | {529} | ℃ | {529-0} | {529-1} | {529-2} | {529-3} | {529-4} | {529-5} | {529-6} | {529-7}
| [36] : | {530} | ℃ | {530-0} | {530-1} | {530-2} | {530-3} | {530-4} | {530-5} | {530-6} | {530-7}
| [37] : | {531} | ℃ | {531-0} | {531-1} | {531-2} | {531-3} | {531-4} | {531-5} | {531-6} | {531-7}
| [38] : | {532} | ℃ | {532-0} | {532-1} | {532-2} | {532-3} | {532-4} | {532-5} | {532-6} | {532-7}
| [39] : | {533} | ℃ | {533-0} | {533-1} | {533-2} | {533-3} | {533-4} | {533-5} | {533-6} | {533-7}
| [40] : | {534} | ℃ | {534-0} | {534-1} | {534-2} | {534-3} | {534-4} | {534-5} | {534-6} | {534-7}
| [41] : | {535} | ℃ | {535-0} | {535-1} | {535-2} | {535-3} | {535-4} | {535-5} | {535-6} | {535-7}
| [42] : | {536} | ℃ | {536-0} | {536-1} | {536-2} | {536-3} | {536-4} | {536-5} | {536-6} | {536-7}
| [43] : | {537} | ℃ | {537-0} | {537-1} | {537-2} | {537-3} | {537-4} | {537-5} | {537-6} | {537-7}
| [44] : | {538} | ℃ | {538-0} | {538-1} | {538-2} | {538-3} | {538-4} | {538-5} | {538-6} | {538-7}
| [45] : | {539} | ℃ | {539-0} | {539-1} | {539-2} | {539-3} | {539-4} | {539-5} | {539-6} | {539-7}
| [46] : | {540} | ℃ | {540-0} | {540-1} | {540-2} | {540-3} | {540-4} | {540-5} | {540-6} | {540-7}
| [47] : | {541} | ℃ | {541-0} | {541-1} | {541-2} | {541-3} | {541-4} | {541-5} | {541-6} | {541-7}
| [48] : | {542} | ℃ | {542-0} | {542-1} | {542-2} | {542-3} | {542-4} | {542-5} | {542-6} | {542-7}
| [49] : | {543} | ℃ | {543-0} | {543-1} | {543-2} | {543-3} | {543-4} | {543-5} | {543-6} | {543-7}
| [50] : | {544} | ℃ | {544-0} | {544-1} | {544-2} | {544-3} | {544-4} | {544-5} | {544-6} | {544-7}
| [51] : | {545} | ℃ | {545-0} | {545-1} | {545-2} | {545-3} | {545-4} | {545-5} | {545-6} | {545-7}
| [52] : | {546} | ℃ | {546-0} | {546-1} | {546-2} | {546-3} | {546-4} | {546-5} | {546-6} | {546-7}
| [53] : | {547} | ℃ | {547-0} | {547-1} | {547-2} | {547-3} | {547-4} | {547-5} | {547-6} | {547-7}
| [54] : | {548} | ℃ | {548-0} | {548-1} | {548-2} | {548-3} | {548-4} | {548-5} | {548-6} | {548-7}
| [55] : | {549} | ℃ | {549-0} | {549-1} | {549-2} | {549-3} | {549-4} | {549-5} | {549-6} | {549-7}
| [56] : | {550} | ℃ | {550-0} | {550-1} | {550-2} | {550-3} | {550-4} | {550-5} | {550-6} | {550-7}
| [57] : | {551} | ℃ | {551-0} | {551-1} | {551-2} | {551-3} | {551-4} | {551-5} | {551-6} | {551-7}
| [58] : | {552} | ℃ | {552-0} | {552-1} | {552-2} | {552-3} | {552-4} | {552-5} | {552-6} | {552-7}
| [59] : | {553} | ℃ | {553-0} | {553-1} | {553-2} | {553-3} | {553-4} | {553-5} | {553-6} | {553-7}
| [60] : | {554} | ℃ | {554-0} | {554-1} | {554-2} | {554-3} | {554-4} | {554-5} | {554-6} | {554-7}
Indoor
| [31] : | {555} | ℃ | {555-0} | {555-1} | {555-2} | {555-3} | {555-4} | {555-5} | {555-6} | {555-7}
| [32] : | {556} | ℃ | {556-0} | {556-1} | {556-2} | {556-3} | {556-4} | {556-5} | {556-6} | {556-7}
| [33] : | {557} | ℃ | {557-0} | {557-1} | {557-2} | {557-3} | {557-4} | {557-5} | {557-6} | {557-7}
| [34] : | {558} | ℃ | {558-0} | {558-1} | {558-2} | {558-3} | {558-4} | {558-5} | {558-6} | {558-7}
| [35] : | {559} | ℃ | {559-0} | {559-1} | {559-2} | {559-3} | {559-4} | {559-5} | {559-6} | {559-7}
| [36] : | {560} | ℃ | {560-0} | {560-1} | {560-2} | {560-3} | {560-4} | {560-5} | {560-6} | {560-7}
| [37] : | {561} | ℃ | {561-0} | {561-1} | {561-2} | {561-3} | {561-4} | {561-5} | {561-6} | {561-7}
| [38] : | {562} | ℃ | {562-0} | {562-1} | {562-2} | {562-3} | {562-4} | {562-5} | {562-6} | {562-7}
| [39] : | {563} | ℃ | {563-0} | {563-1} | {563-2} | {563-3} | {563-4} | {563-5} | {563-6} | {563-7}
| [40] : | {564} | ℃ | {564-0} | {564-1} | {564-2} | {564-3} | {564-4} | {564-5} | {564-6} | {564-7}
| [41] : | {565} | ℃ | {565-0} | {565-1} | {565-2} | {565-3} | {565-4} | {565-5} | {565-6} | {565-7}
| [42] : | {566} | ℃ | {566-0} | {566-1} | {566-2} | {566-3} | {566-4} | {566-5} | {566-6} | {566-7}
| [43] : | {567} | ℃ | {567-0} | {567-1} | {567-2} | {567-3} | {567-4} | {567-5} | {567-6} | {567-7}
| [44] : | {568} | ℃ | {568-0} | {568-1} | {568-2} | {568-3} | {568-4} | {568-5} | {568-6} | {568-7}
| [45] : | {569} | ℃ | {569-0} | {569-1} | {569-2} | {569-3} | {569-4} | {569-5} | {569-6} | {569-7}
| [46] : | {570} | ℃ | {570-0} | {570-1} | {570-2} | {570-3} | {570-4} | {570-5} | {570-6} | {570-7}
| [47] : | {571} | ℃ | {571-0} | {571-1} | {571-2} | {571-3} | {571-4} | {571-5} | {571-6} | {571-7}
| [48] : | {572} | ℃ | {572-0} | {572-1} | {572-2} | {572-3} | {572-4} | {572-5} | {572-6} | {572-7}
| [49] : | {573} | ℃ | {573-0} | {573-1} | {573-2} | {573-3} | {573-4} | {573-5} | {573-6} | {573-7}
| [50] : | {574} | ℃ | {574-0} | {574-1} | {574-2} | {574-3} | {574-4} | {574-5} | {574-6} | {574-7}
| [51] : | {575} | ℃ | {575-0} | {575-1} | {575-2} | {575-3} | {575-4} | {575-5} | {575-6} | {575-7}
| [52] : | {576} | ℃ | {576-0} | {576-1} | {576-2} | {576-3} | {576-4} | {576-5} | {576-6} | {576-7}
| [53] : | {577} | ℃ | {577-0} | {577-1} | {577-2} | {577-3} | {577-4} | {577-5} | {577-6} | {577-7}
| [54] : | {578} | ℃ | {578-0} | {578-1} | {578-2} | {578-3} | {578-4} | {578-5} | {578-6} | {578-7}
| [55] : | {579} | ℃ | {579-0} | {579-1} | {579-2} | {579-3} | {579-4} | {579-5} | {579-6} | {579-7}
| [56] : | {580} | ℃ | {580-0} | {580-1} | {580-2} | {580-3} | {580-4} | {580-5} | {580-6} | {580-7}
| [57] : | {581} | ℃ | {581-0} | {581-1} | {581-2} | {581-3} | {581-4} | {581-5} | {581-6} | {581-7}
| [58] : | {582} | ℃ | {582-0} | {582-1} | {582-2} | {582-3} | {582-4} | {582-5} | {582-6} | {582-7}
| [59] : | {583} | ℃ | {583-0} | {583-1} | {583-2} | {583-3} | {583-4} | {583-5} | {583-6} | {583-7}
| [60] : | {584} | ℃ | {584-0} | {584-1} | {584-2} | {584-3} | {584-4} | {584-5} | {584-6} | {584-7}
| TEQP-26-07-2 |  |  | {555-1} {556-1} {557-1} {558-1} {559-1} {560-1} {561-1} {562-1} {563-1} {564-1} {565-1} {566-1} {567-1} {568-1} {569-1} {570-1} {571-1} {572-1} {573-1} {574-1} {575-1} {576-1} {577-1} {578-1} {579-1} {580-1} {581-1} {582-1} {583-1} {584-1}: 오텍캐리어 기술연구소; {555-4} {556-4} {557-4} {558-4} {559-4} {560-4} {561-4} {562-4} {563-4} {564-4} {565-4} {566-4} {567-4} {568-4} {569-4} {570-4} {571-4} {572-4} {573-4} {574-4} {575-4} {576-4} {577-4} {578-4} {579-4} {580-4} {581-4} {582-4} {583-4} {584-4}: A4(210mm*297mm)
{end}

## TC2 (1)
{end}
TR-7 PSYCHROMETRIC CALORIMETER RAW DATA SHEET
Test Date
| Application No. |  |  | {300} |  |  | Page |  | {301:2/2}
| Test Date |  |  | {302} |  |  | Test Mode |  | {303}
| Measured Date |  |  | {304} |  |  | File Name |  | {305}
| Operator |  |  | {306} |  |  | Technical Manager |  | {307}
Unit Specifications
| Unit Model Name |  |  | {308} |  |  | Test Condition Name |  | {309}
| ID / OD Model |  |  | {310} |  |  | Rated Capacity |  | {311}
| Compressor Model Name |  |  | {312} |  |  | Rated Power Input |  | {313}
| Compressor Control Type |  |  | {314} |  |  | Power Source |  | {315}
| Expansion Device Type |  |  | {318} |  |  | Refrigerant / Amount |  | {319}
| Unit Operating Specification |  |  | {316}
| Indoor Side No.2 Test Condition | [5 empty] | Outdoor Side Test Condition
| DB & WB Temperature |  |  | {320} |  |  | DB & WB Temperature |  | {321}
| Test Record |  |  | {322} |  |  | Test Record |  | {323}
Operator Checks
{3memo}
|  | Thermocouple #1 |  | {3c-0:Average} | {3c-1:5 min} | {3c-2:10 min} | {3c-3:15 min} | {3c-4:20 min} | {3c-5:25 min} | {3c-6:30 min} | {3c-7:35 min}
Outdoor
| [01] : | {525} | ℃ | {525-0} | {525-1} | {525-2} | {525-3} | {525-4} | {525-5} | {525-6} | {525-7}
| [02] : | {526} | ℃ | {526-0} | {526-1} | {526-2} | {526-3} | {526-4} | {526-5} | {526-6} | {526-7}
| [03] : | {527} | ℃ | {527-0} | {527-1} | {527-2} | {527-3} | {527-4} | {527-5} | {527-6} | {527-7}
| [04] : | {528} | ℃ | {528-0} | {528-1} | {528-2} | {528-3} | {528-4} | {528-5} | {528-6} | {528-7}
| [05] : | {529} | ℃ | {529-0} | {529-1} | {529-2} | {529-3} | {529-4} | {529-5} | {529-6} | {529-7}
| [06] : | {530} | ℃ | {530-0} | {530-1} | {530-2} | {530-3} | {530-4} | {530-5} | {530-6} | {530-7}
| [07] : | {531} | ℃ | {531-0} | {531-1} | {531-2} | {531-3} | {531-4} | {531-5} | {531-6} | {531-7}
| [08] : | {532} | ℃ | {532-0} | {532-1} | {532-2} | {532-3} | {532-4} | {532-5} | {532-6} | {532-7}
| [09] : | {533} | ℃ | {533-0} | {533-1} | {533-2} | {533-3} | {533-4} | {533-5} | {533-6} | {533-7}
| [10] : | {534} | ℃ | {534-0} | {534-1} | {534-2} | {534-3} | {534-4} | {534-5} | {534-6} | {534-7}
| [11] : | {535} | ℃ | {535-0} | {535-1} | {535-2} | {535-3} | {535-4} | {535-5} | {535-6} | {535-7}
| [12] : | {536} | ℃ | {536-0} | {536-1} | {536-2} | {536-3} | {536-4} | {536-5} | {536-6} | {536-7}
| [13] : | {537} | ℃ | {537-0} | {537-1} | {537-2} | {537-3} | {537-4} | {537-5} | {537-6} | {537-7}
| [14] : | {538} | ℃ | {538-0} | {538-1} | {538-2} | {538-3} | {538-4} | {538-5} | {538-6} | {538-7}
| [15] : | {539} | ℃ | {539-0} | {539-1} | {539-2} | {539-3} | {539-4} | {539-5} | {539-6} | {539-7}
| [16] : | {540} | ℃ | {540-0} | {540-1} | {540-2} | {540-3} | {540-4} | {540-5} | {540-6} | {540-7}
| [17] : | {541} | ℃ | {541-0} | {541-1} | {541-2} | {541-3} | {541-4} | {541-5} | {541-6} | {541-7}
| [18] : | {542} | ℃ | {542-0} | {542-1} | {542-2} | {542-3} | {542-4} | {542-5} | {542-6} | {542-7}
| [19] : | {543} | ℃ | {543-0} | {543-1} | {543-2} | {543-3} | {543-4} | {543-5} | {543-6} | {543-7}
| [20] : | {544} | ℃ | {544-0} | {544-1} | {544-2} | {544-3} | {544-4} | {544-5} | {544-6} | {544-7}
| [21] : | {545} | ℃ | {545-0} | {545-1} | {545-2} | {545-3} | {545-4} | {545-5} | {545-6} | {545-7}
| [22] : | {546} | ℃ | {546-0} | {546-1} | {546-2} | {546-3} | {546-4} | {546-5} | {546-6} | {546-7}
| [23] : | {547} | ℃ | {547-0} | {547-1} | {547-2} | {547-3} | {547-4} | {547-5} | {547-6} | {547-7}
| [24] : | {548} | ℃ | {548-0} | {548-1} | {548-2} | {548-3} | {548-4} | {548-5} | {548-6} | {548-7}
| [25] : | {549} | ℃ | {549-0} | {549-1} | {549-2} | {549-3} | {549-4} | {549-5} | {549-6} | {549-7}
| [26] : | {550} | ℃ | {550-0} | {550-1} | {550-2} | {550-3} | {550-4} | {550-5} | {550-6} | {550-7}
| [27] : | {551} | ℃ | {551-0} | {551-1} | {551-2} | {551-3} | {551-4} | {551-5} | {551-6} | {551-7}
| [28] : | {552} | ℃ | {552-0} | {552-1} | {552-2} | {552-3} | {552-4} | {552-5} | {552-6} | {552-7}
| [29] : | {553} | ℃ | {553-0} | {553-1} | {553-2} | {553-3} | {553-4} | {553-5} | {553-6} | {553-7}
| [30] : | {554} | ℃ | {554-0} | {554-1} | {554-2} | {554-3} | {554-4} | {554-5} | {554-6} | {554-7}
Indoor
| [01] : | {555} | ℃ | {555-0} | {555-1} | {555-2} | {555-3} | {555-4} | {555-5} | {555-6} | {555-7}
| [02] : | {556} | ℃ | {556-0} | {556-1} | {556-2} | {556-3} | {556-4} | {556-5} | {556-6} | {556-7}
| [03] : | {557} | ℃ | {557-0} | {557-1} | {557-2} | {557-3} | {557-4} | {557-5} | {557-6} | {557-7}
| [04] : | {558} | ℃ | {558-0} | {558-1} | {558-2} | {558-3} | {558-4} | {558-5} | {558-6} | {558-7}
| [05] : | {559} | ℃ | {559-0} | {559-1} | {559-2} | {559-3} | {559-4} | {559-5} | {559-6} | {559-7}
| [06] : | {560} | ℃ | {560-0} | {560-1} | {560-2} | {560-3} | {560-4} | {560-5} | {560-6} | {560-7}
| [07] : | {561} | ℃ | {561-0} | {561-1} | {561-2} | {561-3} | {561-4} | {561-5} | {561-6} | {561-7}
| [08] : | {562} | ℃ | {562-0} | {562-1} | {562-2} | {562-3} | {562-4} | {562-5} | {562-6} | {562-7}
| [09] : | {563} | ℃ | {563-0} | {563-1} | {563-2} | {563-3} | {563-4} | {563-5} | {563-6} | {563-7}
| [10] : | {564} | ℃ | {564-0} | {564-1} | {564-2} | {564-3} | {564-4} | {564-5} | {564-6} | {564-7}
| [11] : | {565} | ℃ | {565-0} | {565-1} | {565-2} | {565-3} | {565-4} | {565-5} | {565-6} | {565-7}
| [12] : | {566} | ℃ | {566-0} | {566-1} | {566-2} | {566-3} | {566-4} | {566-5} | {566-6} | {566-7}
| [13] : | {567} | ℃ | {567-0} | {567-1} | {567-2} | {567-3} | {567-4} | {567-5} | {567-6} | {567-7}
| [14] : | {568} | ℃ | {568-0} | {568-1} | {568-2} | {568-3} | {568-4} | {568-5} | {568-6} | {568-7}
| [15] : | {569} | ℃ | {569-0} | {569-1} | {569-2} | {569-3} | {569-4} | {569-5} | {569-6} | {569-7}
| [16] : | {570} | ℃ | {570-0} | {570-1} | {570-2} | {570-3} | {570-4} | {570-5} | {570-6} | {570-7}
| [17] : | {571} | ℃ | {571-0} | {571-1} | {571-2} | {571-3} | {571-4} | {571-5} | {571-6} | {571-7}
| [18] : | {572} | ℃ | {572-0} | {572-1} | {572-2} | {572-3} | {572-4} | {572-5} | {572-6} | {572-7}
| [19] : | {573} | ℃ | {573-0} | {573-1} | {573-2} | {573-3} | {573-4} | {573-5} | {573-6} | {573-7}
| [20] : | {574} | ℃ | {574-0} | {574-1} | {574-2} | {574-3} | {574-4} | {574-5} | {574-6} | {574-7}
| [21] : | {575} | ℃ | {575-0} | {575-1} | {575-2} | {575-3} | {575-4} | {575-5} | {575-6} | {575-7}
| [22] : | {576} | ℃ | {576-0} | {576-1} | {576-2} | {576-3} | {576-4} | {576-5} | {576-6} | {576-7}
| [23] : | {577} | ℃ | {577-0} | {577-1} | {577-2} | {577-3} | {577-4} | {577-5} | {577-6} | {577-7}
| [24] : | {578} | ℃ | {578-0} | {578-1} | {578-2} | {578-3} | {578-4} | {578-5} | {578-6} | {578-7}
| [25] : | {579} | ℃ | {579-0} | {579-1} | {579-2} | {579-3} | {579-4} | {579-5} | {579-6} | {579-7}
| [26] : | {580} | ℃ | {580-0} | {580-1} | {580-2} | {580-3} | {580-4} | {580-5} | {580-6} | {580-7}
| [27] : | {581} | ℃ | {581-0} | {581-1} | {581-2} | {581-3} | {581-4} | {581-5} | {581-6} | {581-7}
| [28] : | {582} | ℃ | {582-0} | {582-1} | {582-2} | {582-3} | {582-4} | {582-5} | {582-6} | {582-7}
| [29] : | {583} | ℃ | {583-0} | {583-1} | {583-2} | {583-3} | {583-4} | {583-5} | {583-6} | {583-7}
| [30] : | {584} | ℃ | {584-0} | {584-1} | {584-2} | {584-3} | {584-4} | {584-5} | {584-6} | {584-7}
| TEQP-26-07-2 |  |  | {555-1} {556-1} {557-1} {558-1} {559-1} {560-1} {561-1} {562-1} {563-1} {564-1} {565-1} {566-1} {567-1} {568-1} {569-1} {570-1} {571-1} {572-1} {573-1} {574-1} {575-1} {576-1} {577-1} {578-1} {579-1} {580-1} {581-1} {582-1} {583-1} {584-1}: 오텍캐리어 기술연구소; {555-4} {556-4} {557-4} {558-4} {559-4} {560-4} {561-4} {562-4} {563-4} {564-4} {565-4} {566-4} {567-4} {568-4} {569-4} {570-4} {571-4} {572-4} {573-4} {574-4} {575-4} {576-4} {577-4} {578-4} {579-4} {580-4} {581-4} {582-4} {583-4} {584-4}: A4(210mm*297mm)
{end}

## TC2 (2)
{end}
TR-7 PSYCHROMETRIC CALORIMETER RAW DATA SHEET
Test Date
| Application No. |  |  | {300} |  |  | Page |  | {301:2/2}
| Test Date |  |  | {302} |  |  | Test Mode |  | {303}
| Measured Date |  |  | {304} |  |  | File Name |  | {305}
| Operator |  |  | {306} |  |  | Technical Manager |  | {307}
Unit Specifications
| Unit Model Name |  |  | {308} |  |  | Test Condition Name |  | {309}
| ID / OD Model |  |  | {310} |  |  | Rated Capacity |  | {311}
| Compressor Model Name |  |  | {312} |  |  | Rated Power Input |  | {313}
| Compressor Control Type |  |  | {314} |  |  | Power Source |  | {315}
| Expansion Device Type |  |  | {318} |  |  | Refrigerant / Amount |  | {319}
| Unit Operating Specification |  |  | {316}
| Indoor Side No.2 Test Condition | [5 empty] | Outdoor Side Test Condition
| DB & WB Temperature |  |  | {320} |  |  | DB & WB Temperature |  | {321}
| Test Record |  |  | {322} |  |  | Test Record |  | {323}
Operator Checks
{3memo}
|  | Thermocouple #2 |  | {3c-0:Average} | {3c-1:5 min} | {3c-2:10 min} | {3c-3:15 min} | {3c-4:20 min} | {3c-5:25 min} | {3c-6:30 min} | {3c-7:35 min}
Outdoor
| [31] : | {525} | ℃ | {525-0} | {525-1} | {525-2} | {525-3} | {525-4} | {525-5} | {525-6} | {525-7}
| [32] : | {526} | ℃ | {526-0} | {526-1} | {526-2} | {526-3} | {526-4} | {526-5} | {526-6} | {526-7}
| [33] : | {527} | ℃ | {527-0} | {527-1} | {527-2} | {527-3} | {527-4} | {527-5} | {527-6} | {527-7}
| [34] : | {528} | ℃ | {528-0} | {528-1} | {528-2} | {528-3} | {528-4} | {528-5} | {528-6} | {528-7}
| [35] : | {529} | ℃ | {529-0} | {529-1} | {529-2} | {529-3} | {529-4} | {529-5} | {529-6} | {529-7}
| [36] : | {530} | ℃ | {530-0} | {530-1} | {530-2} | {530-3} | {530-4} | {530-5} | {530-6} | {530-7}
| [37] : | {531} | ℃ | {531-0} | {531-1} | {531-2} | {531-3} | {531-4} | {531-5} | {531-6} | {531-7}
| [38] : | {532} | ℃ | {532-0} | {532-1} | {532-2} | {532-3} | {532-4} | {532-5} | {532-6} | {532-7}
| [39] : | {533} | ℃ | {533-0} | {533-1} | {533-2} | {533-3} | {533-4} | {533-5} | {533-6} | {533-7}
| [40] : | {534} | ℃ | {534-0} | {534-1} | {534-2} | {534-3} | {534-4} | {534-5} | {534-6} | {534-7}
| [41] : | {535} | ℃ | {535-0} | {535-1} | {535-2} | {535-3} | {535-4} | {535-5} | {535-6} | {535-7}
| [42] : | {536} | ℃ | {536-0} | {536-1} | {536-2} | {536-3} | {536-4} | {536-5} | {536-6} | {536-7}
| [43] : | {537} | ℃ | {537-0} | {537-1} | {537-2} | {537-3} | {537-4} | {537-5} | {537-6} | {537-7}
| [44] : | {538} | ℃ | {538-0} | {538-1} | {538-2} | {538-3} | {538-4} | {538-5} | {538-6} | {538-7}
| [45] : | {539} | ℃ | {539-0} | {539-1} | {539-2} | {539-3} | {539-4} | {539-5} | {539-6} | {539-7}
| [46] : | {540} | ℃ | {540-0} | {540-1} | {540-2} | {540-3} | {540-4} | {540-5} | {540-6} | {540-7}
| [47] : | {541} | ℃ | {541-0} | {541-1} | {541-2} | {541-3} | {541-4} | {541-5} | {541-6} | {541-7}
| [48] : | {542} | ℃ | {542-0} | {542-1} | {542-2} | {542-3} | {542-4} | {542-5} | {542-6} | {542-7}
| [49] : | {543} | ℃ | {543-0} | {543-1} | {543-2} | {543-3} | {543-4} | {543-5} | {543-6} | {543-7}
| [50] : | {544} | ℃ | {544-0} | {544-1} | {544-2} | {544-3} | {544-4} | {544-5} | {544-6} | {544-7}
| [51] : | {545} | ℃ | {545-0} | {545-1} | {545-2} | {545-3} | {545-4} | {545-5} | {545-6} | {545-7}
| [52] : | {546} | ℃ | {546-0} | {546-1} | {546-2} | {546-3} | {546-4} | {546-5} | {546-6} | {546-7}
| [53] : | {547} | ℃ | {547-0} | {547-1} | {547-2} | {547-3} | {547-4} | {547-5} | {547-6} | {547-7}
| [54] : | {548} | ℃ | {548-0} | {548-1} | {548-2} | {548-3} | {548-4} | {548-5} | {548-6} | {548-7}
| [55] : | {549} | ℃ | {549-0} | {549-1} | {549-2} | {549-3} | {549-4} | {549-5} | {549-6} | {549-7}
| [56] : | {550} | ℃ | {550-0} | {550-1} | {550-2} | {550-3} | {550-4} | {550-5} | {550-6} | {550-7}
| [57] : | {551} | ℃ | {551-0} | {551-1} | {551-2} | {551-3} | {551-4} | {551-5} | {551-6} | {551-7}
| [58] : | {552} | ℃ | {552-0} | {552-1} | {552-2} | {552-3} | {552-4} | {552-5} | {552-6} | {552-7}
| [59] : | {553} | ℃ | {553-0} | {553-1} | {553-2} | {553-3} | {553-4} | {553-5} | {553-6} | {553-7}
| [60] : | {554} | ℃ | {554-0} | {554-1} | {554-2} | {554-3} | {554-4} | {554-5} | {554-6} | {554-7}
Indoor
| [31] : | {555} | ℃ | {555-0} | {555-1} | {555-2} | {555-3} | {555-4} | {555-5} | {555-6} | {555-7}
| [32] : | {556} | ℃ | {556-0} | {556-1} | {556-2} | {556-3} | {556-4} | {556-5} | {556-6} | {556-7}
| [33] : | {557} | ℃ | {557-0} | {557-1} | {557-2} | {557-3} | {557-4} | {557-5} | {557-6} | {557-7}
| [34] : | {558} | ℃ | {558-0} | {558-1} | {558-2} | {558-3} | {558-4} | {558-5} | {558-6} | {558-7}
| [35] : | {559} | ℃ | {559-0} | {559-1} | {559-2} | {559-3} | {559-4} | {559-5} | {559-6} | {559-7}
| [36] : | {560} | ℃ | {560-0} | {560-1} | {560-2} | {560-3} | {560-4} | {560-5} | {560-6} | {560-7}
| [37] : | {561} | ℃ | {561-0} | {561-1} | {561-2} | {561-3} | {561-4} | {561-5} | {561-6} | {561-7}
| [38] : | {562} | ℃ | {562-0} | {562-1} | {562-2} | {562-3} | {562-4} | {562-5} | {562-6} | {562-7}
| [39] : | {563} | ℃ | {563-0} | {563-1} | {563-2} | {563-3} | {563-4} | {563-5} | {563-6} | {563-7}
| [40] : | {564} | ℃ | {564-0} | {564-1} | {564-2} | {564-3} | {564-4} | {564-5} | {564-6} | {564-7}
| [41] : | {565} | ℃ | {565-0} | {565-1} | {565-2} | {565-3} | {565-4} | {565-5} | {565-6} | {565-7}
| [42] : | {566} | ℃ | {566-0} | {566-1} | {566-2} | {566-3} | {566-4} | {566-5} | {566-6} | {566-7}
| [43] : | {567} | ℃ | {567-0} | {567-1} | {567-2} | {567-3} | {567-4} | {567-5} | {567-6} | {567-7}
| [44] : | {568} | ℃ | {568-0} | {568-1} | {568-2} | {568-3} | {568-4} | {568-5} | {568-6} | {568-7}
| [45] : | {569} | ℃ | {569-0} | {569-1} | {569-2} | {569-3} | {569-4} | {569-5} | {569-6} | {569-7}
| [46] : | {570} | ℃ | {570-0} | {570-1} | {570-2} | {570-3} | {570-4} | {570-5} | {570-6} | {570-7}
| [47] : | {571} | ℃ | {571-0} | {571-1} | {571-2} | {571-3} | {571-4} | {571-5} | {571-6} | {571-7}
| [48] : | {572} | ℃ | {572-0} | {572-1} | {572-2} | {572-3} | {572-4} | {572-5} | {572-6} | {572-7}
| [49] : | {573} | ℃ | {573-0} | {573-1} | {573-2} | {573-3} | {573-4} | {573-5} | {573-6} | {573-7}
| [50] : | {574} | ℃ | {574-0} | {574-1} | {574-2} | {574-3} | {574-4} | {574-5} | {574-6} | {574-7}
| [51] : | {575} | ℃ | {575-0} | {575-1} | {575-2} | {575-3} | {575-4} | {575-5} | {575-6} | {575-7}
| [52] : | {576} | ℃ | {576-0} | {576-1} | {576-2} | {576-3} | {576-4} | {576-5} | {576-6} | {576-7}
| [53] : | {577} | ℃ | {577-0} | {577-1} | {577-2} | {577-3} | {577-4} | {577-5} | {577-6} | {577-7}
| [54] : | {578} | ℃ | {578-0} | {578-1} | {578-2} | {578-3} | {578-4} | {578-5} | {578-6} | {578-7}
| [55] : | {579} | ℃ | {579-0} | {579-1} | {579-2} | {579-3} | {579-4} | {579-5} | {579-6} | {579-7}
| [56] : | {580} | ℃ | {580-0} | {580-1} | {580-2} | {580-3} | {580-4} | {580-5} | {580-6} | {580-7}
| [57] : | {581} | ℃ | {581-0} | {581-1} | {581-2} | {581-3} | {581-4} | {581-5} | {581-6} | {581-7}
| [58] : | {582} | ℃ | {582-0} | {582-1} | {582-2} | {582-3} | {582-4} | {582-5} | {582-6} | {582-7}
| [59] : | {583} | ℃ | {583-0} | {583-1} | {583-2} | {583-3} | {583-4} | {583-5} | {583-6} | {583-7}
| [60] : | {584} | ℃ | {584-0} | {584-1} | {584-2} | {584-3} | {584-4} | {584-5} | {584-6} | {584-7}
| TEQP-26-07-2 |  |  | {555-1} {556-1} {557-1} {558-1} {559-1} {560-1} {561-1} {562-1} {563-1} {564-1} {565-1} {566-1} {567-1} {568-1} {569-1} {570-1} {571-1} {572-1} {573-1} {574-1} {575-1} {576-1} {577-1} {578-1} {579-1} {580-1} {581-1} {582-1} {583-1} {584-1}: 오텍캐리어 기술연구소; {555-4} {556-4} {557-4} {558-4} {559-4} {560-4} {561-4} {562-4} {563-4} {564-4} {565-4} {566-4} {567-4} {568-4} {569-4} {570-4} {571-4} {572-4} {573-4} {574-4} {575-4} {576-4} {577-4} {578-4} {579-4} {580-4} {581-4} {582-4} {583-4} {584-4}: A4(210mm*297mm)
{end}

## Uncertainty1 (Cool)
{end}
■ Uncertainty Analysis
Application No. |  | {601}
Model Name |  | {602}
Test Date |  | {603}
Test Time |  | {604}
Operator |  | {605}
Uncertainty |  | {606:ISO/TS 16491:2012}
Expanded uncertainty |  | {607}
Relative expanded uncertainty |  | {608}
Coverage factor |  | {609:k = 2}
Input quantity Source of Uncertainty |  | Unit | Value from calibration certificate or actual value | Divisor | Calculation of relative standard uncertainy(%)
Airflow | qvi | m3/s | {610} | 2 | {611}
Specific enthalpy of air entering the indoor side | ha1 | J/kg | {612} | 2 | {613}
Specific enthalpy of air leaving the indoor side | ha2 | J/kg | {614} | 2 | {615}
Air dry bulb temperature | T | K | {616} | 2 | {617}
Atmospheric pressure | p | Pa | {618} | 2 | {619}
Water vapour partial pressure at wet bulb temperature Tw | pw | Pa | {620} | 2 | {621}
Indirect contribution | C1 | W | {622} | 1 | {623}
Relative combined standard uncertainty |  |  |  |  | {624}
Relative expanded uncertainty(Relative expanded uncertainty (%)) Converge factor k=2 |  |  |  |  | {625}
TEQP-26-07-3 | 오텍캐리어 기술연구소 |  |  |  | A4(210mm*297mm)
{end}

## Uncertainty1 (Heat)
{end}
■ Uncertainty Analysis
Application No. |  | {701}
Model Name |  | {702}
Test Date |  | {703}
Test Time |  | {704}
Operator |  | {705}
Uncertainty |  | {706:ISO/TS 16491:2012}
Expanded uncertainty |  | {707}
Relative expanded uncertainty |  | {708}
Coverage factor |  | {709:k = 2}
Input quantity Source of Uncertainty |  | Unit | Value from calibration certificate or actual value | Divisor | Calculation of relative standard uncertainy(%)
Indoor air volume flow rate | qvi | m3/s | {710} | 2 | {711}
Specific heat of moist air entering the indoor side | Cpa2 | J/kg℃ | {712} | 2 | {713}
Temperature of air leaving the indoor side, drybulb | ta2 | ℃ | {714} | 2 | {715}
Specific heat of moist air entering the indoor side | Cpa1 | J/kg℃ | {716} | 2 | {717}
Temperature of air entering the indoor side, dry bulb | ta1 | ℃ | {718} | 2 | {719}
Air dry bulb temperature | T | K | {720} | 2 | {721}
Atmospheric pressure | p | Pa | {722} | 2 | {723}
Water vapour partial pressure at wet bulb temperature Tw | pw | Pa | {724} | 2 | {725}
Indirect contribution | Ci | W | {726} | 1 | {727}
Relative combined standard uncertainty |  |  |  |  | {728}
Relative expanded uncertainty(Relative expanded uncertainty (%)) Converge factor k=2 |  |  |  |  | {729}
TEQP-26-07-3 | 오텍캐리어 기술연구소 |  |  |  | A4(210mm*297mm)
{end}

## Uncertainty2 (Cool)
{end}
■ Uncertainty Analysis
Application No. |  | {601}
Model Name |  | {602}
Test Date |  | {603}
Test Time |  | {604}
Operator |  | {605}
Uncertainty |  | {606:ISO/TS 16491:2012}
Expanded uncertainty |  | {607}
Relative expanded uncertainty |  | {608}
Coverage factor |  | {609:k = 2}
Input quantity Source of Uncertainty |  | Unit | Value from calibration certificate or actual value | Divisor | Calculation of relative standard uncertainy(%)
Airflow | qvi | m3/s | {610} | 2 | {611}
Specific enthalpy of air entering the indoor side | ha1 | J/kg | {612} | 2 | {613}
Specific enthalpy of air leaving the indoor side | ha2 | J/kg | {614} | 2 | {615}
Air dry bulb temperature | T | K | {616} | 2 | {617}
Atmospheric pressure | p | Pa | {618} | 2 | {619}
Water vapour partial pressure at wet bulb temperature Tw | pw | Pa | {620} | 2 | {621}
Indirect contribution | C1 | W | {622} | 1 | {623}
Relative combined standard uncertainty |  |  |  |  | {624}
Relative expanded uncertainty(Relative expanded uncertainty (%)) Converge factor k=2 |  |  |  |  | {625}
TEQP-26-07-3 | 오텍캐리어 기술연구소 |  |  |  | A4(210mm*297mm)
{end}

## Uncertainty2 (Heat)
{end}
■ Uncertainty Analysis
Application No. |  | {701}
Model Name |  | {702}
Test Date |  | {703}
Test Time |  | {704}
Operator |  | {705}
Uncertainty |  | {706:ISO/TS 16491:2012}
Expanded uncertainty |  | {707}
Relative expanded uncertainty |  | {708}
Coverage factor |  | {709:k = 2}
Input quantity Source of Uncertainty |  | Unit | Value from calibration certificate or actual value | Divisor | Calculation of relative standard uncertainy(%)
Indoor air volume flow rate | qvi | m3/s | {710} | 2 | {711}
Specific heat of moist air entering the indoor side | Cpa2 | J/kg℃ | {712} | 2 | {713}
Temperature of air leaving the indoor side, drybulb | ta2 | ℃ | {714} | 2 | {715}
Specific heat of moist air entering the indoor side | Cpa1 | J/kg℃ | {716} | 2 | {717}
Temperature of air entering the indoor side, dry bulb | ta1 | ℃ | {718} | 2 | {719}
Air dry bulb temperature | T | K | {720} | 2 | {721}
Atmospheric pressure | p | Pa | {722} | 2 | {723}
Water vapour partial pressure at wet bulb temperature Tw | pw | Pa | {724} | 2 | {725}
Indirect contribution | Ci | W | {726} | 1 | {727}
Relative combined standard uncertainty |  |  |  |  | {728}
Relative expanded uncertainty(Relative expanded uncertainty (%)) Converge factor k=2 |  |  |  |  | {729}
TEQP-26-07-3 | 오텍캐리어 기술연구소 |  |  |  | A4(210mm*297mm)
{end}

## Raw Data
{end:{end}}
File Name | {901}
Test Date | {902}
Test Start time | {903}
Test End time | {904}
ID1 DB & WB | {905}
ID1 Test Record | {906}
ID2 DB & WB | {928}
ID2 Test Record | {929}
OD DB & WB | {907}
OD Test Record | {908}
Water Temp. & Flow | {930}
Water Test Record | {931}
Company | {909}
Test Name | {910}
Test No. | {911}
Observer | {912}
Rated Capacity | {913}
Rated Power Input | {914}
Rated EER/COP | {915}
Rated Current | {916}
Power Source | {917}
Maker | {918}
ID Model | {919}
ID Serial No. | {920}
OD Model | {921}
OD Serial No. | {922}
Exp. Device | {923}
Refrigerant | {924}
Ref. Charge | {925}
Memo | {926}
{927:{927}}
{end:{end}}